BAE 511 Air-conditioning & Refrigeration Heat Transfer

Test

1.Write the equation for the given system

2. Write the equation for the given system

3. Coating with precribed radiation properties is cured by irradiation from an infrared lamp. Heat transfer from the coating is by convection to ambient air & radiation exchange with the surrounding. Find Cure temperature for h = 15 W/m2.K

4.  Known: T(x) = a + bx + cx2 [°C]  a = 900 °C, b = -300 °C/m, c = -50 °C/m2  q˙= 1000 W/m3

Find  qin (x = 0 ) and  qout(x = 1 m), Ėst , dT/dt at x = 0, 0.25, 0.5 m

5.Write the heat diffusion equation for control volume.

6.Write the heat transfer equations general form in spherical co-ordinate.

7. Known: Hot coffee is separated from its cooler surroundings by a plastic flask, an air space, and a plastic cover.

Find: Relevant heat transfer processes.

8.Write ventilation design process

9. Write duct design process

10. (a)Write affinity laws for pump formulas

(b)Write annual fuel usage formula.