BAE 606 Building Service Electrical & Mechanical Engineering

Q1. Explain building Acoustics.

Q2.Describe Roof Drainage.

Q3 What is the use of welds in building construction.

Q4.Explain Bracing Tall Buildings.

Q5.Sketch air ventilation duct system for a building.

Q6. Explain single duct re-heat system.

Q7. Explain force circulation of hot water system in building.

Q8. Describe plumbing plan in building.

Q9.What is operation of gate valve

Q10. Sketch the Common types of foundations for buildings.