## Slide 1
1. The building should be constructed to serve purposes specified by the client.
2. The design should be constructable by known techniques and with available
labor and equipment, within an acceptable time.
3. The building should be capable of withstanding the elements and normal usage
for a period of time specified by the client.
4. Both inside and outside, the building should be visually pleasing.
5. No part of the building should pose a hazard to the safety or health of its
occupants under normal usage, and the building should provide for safe evacuation
or refuge in emergencies.
6. The building should provide the degree of shelter from the elements and of
control of the interior environment—air, temperature, humidity, light, and acoustics—
specified by the client and not less than the minimums required for safety
and health of the occupants.
7. The building should be constructed to minimize adverse impact on the environment.
8. Operation of the building should consume a minimum of energy while permitting
the structure to serve its purposes.
9. The sum of costs of construction, operation, maintenance, repair, and anticipated
future alterations should be kept within the limit specified by the client.