## Slide 1
Roofs may have any of a wide variety of shapes. A specific shape may be
selected because of appearance, need for attic space under the roof, requirements
for height between roof and floor below, desire for minimum enclosed volume,
structural economy, or requirements for drainage of rainwater and shedding of snow.
While roofs are sometimes given curved surfaces, more often roofs are composed
of one or more plane surfaces. Some commonly used types are shown in Fig. 1.4.
FIGURE 1.4 Roofs composed of plane surfaces: (a) flat roof; (b) shed roof; (c) pitched roof;
(d) hipped roof; (e) gambrel roof; (ƒ) mansard roof; (g) monitored roof; (h) sawtooth
roof. (Reprinted with permission from F. S. Merritt and J. Ambrose, ‘‘Building Engineering and
Systems Design,’’ 2d ed., Van Nostrand Reinhold, New York.)