## Slide 1
11.3.4 Support Conditions for Walls
Provision should be made to distribute concentrated loads safely on masonry walls and piers. Heavily loaded members should have steel bearing plates under the ends to distribute the load to the masonry within allowable bearing stresses. Length of bearing should be at least 3 in. Lightly loaded members may be supported directly
on the masonry if the bearing stresses in the masonry are within permissible limits
and if length of bearing is 3 in or more.
Masonry should not be supported on wood construction.
FIGURE 11.5 Grouted masonry wall:
cross section at the roof;
(b) cross section at the base of the wall.