## Trade Breakup
Bill Ref. | Description | Quantity | Unit | Rate | Total
AREAS
| Living area | 273.2 | m2 | 0 | 0
| Carport | 50.1 | m2 | 0 | 0
| Decks | 74 | m2 | 0 | 0
| Porches | 19.1 | m2 | 0 | 0
PRELIMINARIES
| Material Take off, Estimating & Quantity surveying | 850000 | % | 0.0025 | 2125
| Supervision and coordination 0f suppliers and contractors | 1116000 | % | 0.03 | 33480
| Home Owners Warranty Insurance job up to 1,000,000.00 | 1 | item | 4002 | 4002
| Contract works Insurance | 1 | job | 1800 | 1800
| 3 months maintenance work | 1 | each | 1200 | 1200
| Contingency sums | 1 | job | 4000 | 4000
TEMPORARY SERVICES
| Chemical toilet (16 weeks) inc damage waiver | 1 | each | 345.6 | 345.6
| Chemical toilet inc damage waiver per week | 24 | week | 21.6 | 518.4
| Servicing of chemical toilet | 10 | each | 25 | 250
| Connection of temporary power pole | 1 | item | 285 | 285
| Temporary power supply | 10 | mont | 85 | 850
| Site shed | 40 | job | 75 | 3000
| Rubbish Basket for site | 1 | each | 91 | 91
| 3000 Lt water tank for temporary water supply | 1 | each | 540 | 540
| Water Supply during Constructions | 1 | job | 1000 | 1000
| Delivery | 2 | each | 100 | 200
SITE PREPERATION
| Scrape site to maximum Depth of 150mm and remove vegetable soils read for construction | 760.4612 | item | 2 | 1520.9224
| set out building ready for construction | 1 | job | 720 | 720
| Surveyor to provide setout points | 1 | item | 1200 | 1200
HIRE ITEMS
| Mobile crane hire (min 4 hr hire) to place beams etc | 8 | hr | 200 | 1600
| Perimeter Guradrail to roof (Fall protection) | 118 | m | 15 | 1770
| Mobile scaffold Hire | 6 | weeks | 360 | 2160
DRAINER
| 100mm P.V.C Sewer per mtr | 40 | m | 45 | 1800
| 100mm P.V.C Suspended Sewer per mtr | 89.0011 | m | 45 | 4005.0501
| 100mm P.V.C stormwater per mtr | 180 | m | 25 | 4500
| Oztanks Under deck tanks 5000 lt | 6 | each | 1655 | 9930
| Install Water tanks | 6 | each | 500 | 3000
| Install Soak pits | 2 | each | 500 | 1000
| Pressure pump | 1 | each | 1300 | 1300
TERMITE PROTECTION
| Termite chemical spray sub timber floor | 350 | m2 | 3.3 | 1155
| Termite spray to perimeter of building "part B" | 113 | m | 5.5 | 621.5
CONCRETOR
| Strip footings per M3 350w x 800d with 3-L12 TM top and bottom | 55.8 | m3 | 460 | 25668
| Slab per M2 (M class) | 8.091 | m2 | 135 | 1092.2785
| Additional Boxing to Footing walls above ground | 113 | m | 42 | 4746
| Pad Footings | 6.2 | m3 | 460 | 2852
| Extra bulk concrete per M3 | 4 | m3 | 200 | 800
| Concrete pump-Boom (min 4 hrs) | 8 | hr | 180 | 1440
| Concrete pump travel per hour | 4 | hr | 180 | 720
| Concrete pump per metres pumped | 62 | m3 | 7.5 | 465
BASE BRICKLAYER
| White brick sand per m3 | 5 | m3 | 48 | 240
| Clear waterproof liquid (5lts) | 2 | each | 14 | 28
| GP builder's cement per 20kg bag | 40 | each | 7.2 | 288
| Limil per 20kg bag | 20 | each | 9.5 | 190
| Double ring ties per bag | 3 | each | 5 | 15
| Hoop Iron 30mts | 2 | each | 19 | 38
| Cartage per delivery | 1 | each | 45 | 45
| Mixed Pressed Seconds | 5072 | m2 | 0.55 | 2789.6
| Face brick - flush/rendered - up to 3.6m - per 1000 | 5100 | each | 0.9 | 4590
FRAME CARPENTER
FRAME CARPENTER
| set out and dig stump holes | 48 | hr | 50 | 2400
| Install Stumps | 48 | hr | 50 | 2400
| Bearers & Joists | 96 | hr | 50 | 4800
| Flooring | 48 | hr | 50 | 2400
| set out walls | 24 | hr | 50 | 1200
| Knock Up walls | 120 | hr | 50 | 6000
| Help with steel | 24 | hr | 50 | 1200
| Install Trusses | 48 | hr | 50 | 2400
| Pitch roof and verandahs | 120 | hr | 50 | 6000
| Roof Battens & Box Gutters | 48 | hr | 50 | 2400
| Tiedowns & Bracing | 48 | hr | 50 | 2400
| Install windows | 48 | hr | 50 | 2400
| Drop Ceilings and Bulkheads | 48 | hr | 50 | 2400
| Misc | 48 | hr | 50 | 2400
| Frame hardware (Nails, Clips, Ties etc) | 1 | job | 1200 | 1200
| Stump Hole digger (Tractor or similar) | 118 | Each | 3.5 | 413
| 20MPa Concrete to stump holes | 5 | m3 | 220 | 1100
| 100x100 Concrete stumps | 141.6 | m | 9.7 | 1373.52
| Gal. Metal Ant Caps to suit 100 x 100 stumps | 118 | Each | 1.25 | 147.5
| F8 OB Hardwood | 2.3 | m3 | 650 | 1495
| 90x35 MGP10 Pine | 665 | m | 1.65 | 1097.25
| 90x45 MGP10 Pine | 409.1 | m | 2.2 | 900.02
| 90x45 MGP10 Pine studs | 725.4 | m | 2.2 | 1595.88
| 90x35 MGP10 Pine studs | 972 | m | 1.65 | 1603.8
| 140x45 F7 Laserpine | 225.3 | m | 4.2 | 946.26
| 190x45 F7 Laserpine | 137.1 | m | 6 | 822.6
| 240x45 F7 Laserpine | 111.6 | m | 7.5 | 837
| 290x45 F7 Laserpine | 9.6 | m | 10.5 | 100.8
| 90x45 F17 hardwood | 30 | m | 5.2 | 156
| 190x45 F17 hardwood | 10.8 | m | 11.9 | 128.52
| 240x45 F17 hardwood | 36 | m | 16.6 | 597.6
| 290x45 F17 hardwood | 8.4 | m | 22.5 | 189
| 90x45 Treated Pine | 1227.3 | m | 3.98 | 4884.654
| 140x45 Treated Pine | 12 | m | 6 | 72
| 190x45 Treated Pine | 70.2 | m | 8 | 561.6
| 240x45 LVL Hyspan | 28.8 | m | 13.95 | 401.76
| 150x75 recycled hwd | 84 | m | 160 | 13440
| 200x100 recycled hwd | 14.4 | m | 180 | 2592
| Yellow Tongue Flooring 3600x900 | 73 | each | 34.5 | 2518.5
| 15mm Ply Flooring 2400x1200 | 5 | each | 50 | 250
| Secura Floor Internal 2700x600 | 17 | each | 86.4 | 1468.8
| Flooring Glue Tubes | 35 | Each | 4 | 140
| Plybrace 2700x1200 | 12 | each | 27.4 | 328.8
| Minibrace 4.2m | 18 | each | 7.1 | 127.8
| Roof Trusses | 255.0513 | m2 | 48 | 12242.4611
| Delivery | 4 | each | 50 | 200
STRUCTURAL STEEL
| Structural Steel work fabricated and installed as per attached schedule | 1 | job | 12705.34 | 12705.34
WINDOWS
| Powdercoated aluminium double glazed windows and sliding doors Capral 400 series or similar | 105.1038 | m2 | 600 | 63062.25
| Powdercoated aluminium double glazed skylights with Solar eclipse glazing | 1.753 | m2 | 850 | 1490.05
| Powdercoated aluminium with 150mm WRC louvers | 1.92 | m2 | 600 | 1152
| Powdercoated Aluminium Louver screen to Plant area | 2.5 | m2 | 400 | 1000
| Fly screens | 14 | each | 45 | 630
| Fly doors | 5 | each | 300 | 1500
ROOF PLUMBER
| Labour to install sheet roofing | 474 | m2 | 22 | 10428
| Labour to Install Metal cladding | 247 | m2 | 27.5 | 6792.5
| Labour to install Flashings | 516 | m | 11 | 5676
| Labour to install gutters | 35 | m | 16.5 | 577.5
| Labour to install down pipes | 4 | each | 88 | 352
| Roofing Hardware | 1 | job | 1650 | 1650
| Custom Orb Roofing Colorbond. | 411 | m2 | 17.05 | 7007.55
| Cliplock Roofing .42 BMT 685mm wide. Color | 63 | m2 | 17.05 | 1074.15
| Clip lock roofing Clips | 120 | each | 2.695 | 323.4
| Mini Orb .42 825 Wide Colorbond | 247 | m2 | 41.096 | 10150.712
| Downpipe Pops. 90mm Round. Zinc. | 4 | each | 8.525 | 34.1
| Flashing 200 3 fold Color | 245 | m | 7.183 | 1759.835
| Flashing 400 3 fold Color | 271 | m | 11.44 | 3100.24
| Flashing 800 2 fold Color | 35 | m | 18.81 | 658.35
| Sumps | 4 | each | 71.5 | 286
| Foil / Blanket. 75mm x 15m rolls. | 26.3333 | each | 157.85 | 4156.7167
| Flashing to Flues | 1 | each | 275 | 275
| Install Roof Lights | 2 | each | 440 | 880
TOP BRICKLAYER
| White brick sand per m2 | 9 | m3 | 48 | 432
| GP builder's cement per 20kg bag | 72 | each | 7.2 | 518.4
| Limil per 20kg bag | 36 | each | 9.5 | 342
| Face wall ties per box | 3 | each | 14 | 42
| Split expansion ties | 1 | each | 25.45 | 25.45
| Foam expansion joint 75mmx10mmx6m | 1 | each | 30 | 30
| Mixed Pressed Seconds | 8495 | m2 | 0.55 | 4672.25
| Angle 100x100x6 @ 1500mm | 1 | each | 34.8 | 34.8
| Angle 100x100x8 @ 2400mm | 3 | each | 73.03 | 219.09
| Angle 150x100x8 @ 3000mm | 3 | each | 122.01 | 366.03
| Cartage per delivery | 1 | each | 50 | 50
| Face brick - flush/rendered - up to 3.6m - per 1000 | 8500 | each | 0.9 | 7650
| Fit sisalation paper - per unit/townhouse | 1 | each | 250 | 250
STONE MASON
| Basket Range Sandstone ( Allowed 2.5m2 coverage / tonne) | 44 | tonne | 143 | 6292
| Labour to lay random stone walling | 108 | m2 | 300 | 32400
| White brick sand per m3 | 10 | m3 | 48 | 480
| Clear waterproof liquid (5lts) | 2 | each | 14 | 28
| Off white cement per 20kg bag | 80 | each | 9 | 720
| Limil per 20kg bag | 40 | each | 9.5 | 380
| N12 reinforcement bar | 710 | m | 2.85 | 2023.5
| 20 mpa 6mm aggreagte concrete to core fill walls | 4.5 | m3 | 220 | 990
| Labour to Place Reinforcement | 8 | hr | 45 | 360
| Labour to core fill walls | 24 | hr | 45 | 1080
| Cartage | 1 | job | 3300 | 3300
LOCKUP CARPENTER
Lock-Up Carpentry Labour
| Install Decking | 48 | hr | 50 | 2400
| Compressed sheet soffits | 32 | hr | 50 | 1600
| Compressed Sheet Cladding | 80 | hr | 50 | 4000
| Timber slat cladding | 80 | hr | 50 | 4000
| Timber Cladding | 80 | hr | 50 | 4000
| Straighten Frame | 16 | hr | 50 | 800
| Trim For Plaster | 16 | hr | 50 | 800
| Steps | 16 | hr | 50 | 800
| Install cavity Sliders | 8 | hr | 50 | 400
| Install Hinged Screens | 40 | hr | 50 | 2000
| Lock-Up Hardware | 1 | job | 2000 | 2000
| 120x20 Silvertop ash cladding | 885 | m | 10.15 | 8982.75
| 9.0mm Compressed sheet (Note 9.0mm allowed for as Hardies do not make a 6.0mm Compressed Sheet) | 240 | m2 | 34.3 | 8232
| 40x32 Blackbut | 320 | m | 8.73 | 2793.6
| 75x32 Blackbut | 320 | m | 11.36 | 3635.2
| 135x32 Blackbut | 320 | m | 15.3 | 4896
| Masonite Packing strips | 150 | each | 0.8 | 120
| 70x35 Merch Pine | 200 | m | 1.1 | 220
| 90x45 Treated Pine | 150 | m | 3.98 | 597
| 135x19 Blackbutt Decking | 580 | m | 11.37 | 6594.6
| 300x100 Blackbut | 13 | m | 200 | 2600
| Screen Frames with gas lift struts | 3 | each | 500 | 1500
| Cavity slider unit 234o x oversize | 1 | each | 400 | 400
| Breather sisilation 60m roll | 4 | each | 110 | 440
PLUMBER
| Roughin & Fit off Hot & Cold water system | 14 | each | 450 | 6300
ELECTRICAL SERVICES
| Underground Supply Pit | 1 | each | 2600 | 2600
| Underground connection per mtr | 255 | m | 45 | 11475
| Dig Electrical trench (min) | 8 | each | 300 | 2400
| Electric hot water service circuit | 1 | each | 160 | 160
| Smoke alarms each | 4 | each | 75 | 300
| Light points - total downlights / other lights | 108 | each | 55 | 5940
| Lighting Provisional sum allowance | 1 | job | 5000 | 5000
| Two-way light switching | 6 | each | 55 | 330
| Exhaust fans | 4 | each | 55 | 220
| Room lights - pendants | 3 | each | 35 | 105
| Internal GPOs (single or double) | 43 | each | 55 | 2365
| External weatherproof GPO (single or double) - on layout | 3 | each | 65 | 195
| External weatherproof GPO - water tank / hot water | 2 | each | 75 | 150
| GPO & Light to roof space for heating unit | 1 | each | 150 | 150
| Power supply to blinds | 1 | each | 80 | 80
| Dishwasher point | 1 | each | 95 | 95
| Rangehood wire and install | 1 | each | 90 | 90
| Electric wall oven 32 amp | 1 | each | 160 | 160
| Heating/cooling condensor each | 2 | each | 300 | 600
| Foxtel points each | 3 | each | 55 | 165
| TV points each | 3 | each | 55 | 165
| Install sweep fan each | 4 | each | 100 | 400
| switchboard equipment installed | 1 | each | 300 | 300
| Meterbox & equipment installed | 1 | each | 400 | 400
| Earthing bond & stake | 1 | each | 85 | 85
| 4 Kw solar PV Cell system | 1 | each | 8500 | 8500
| Inspection & certificate of Compliance | 1 | each | 250 | 250
MECHANICAL SERVICES
| Hydronic Heating system as quoted by | 1 | job | 53491 | 53491
| Reverse Cycle ducted airconditioning system Provisional sum allowance | 1 | job | 10000 | 10000
| Inline Ducted exhaust fans and linear gril | 2 | each | 600 | 1200
INSULATION
| Bradford R2.5 Optimo underfloor insulation | 274 | m2 | 9.75 | 2671.5
| R4.0 Comfortseal ceiling per M2 | 274 | m2 | 6.4 | 1753.6
| Stringing ceiling batts per M2 | 274 | m2 | 0.88 | 241.12
| R2.0 Soundscreen wall Batts per M2 | 144.621 | m2 | 9.47 | 1369.5608
| R2.7 Gold Batts to wall Batts per M2 | 274 | m2 | 11.2 | 3068.8
| Sound Lagging to sewer pipes | 12 | m | 30 | 360
| Sound lagging to sewer pipes Bend | 8 | each | 30 | 240
| R1.9 Kingspan insulation to Stone walls | 55 | m2 | 22.5 | 1237.5
RENDERER
| Rendering to brickwork per M2 (To be painted) | 164 | m2 | 35 | 5740
| Rockcote render finish to wet areas | 12 | m2 | 60 | 720
PLASTERER
| 10mm Plasterboard installed to walls & ceilings | 950 | m2 | 22 | 20900
| Install metal ceiling Battens | 248 | m2 | 2.52 | 624.96
| P50 bead in lieu of cornice | 248 | m | 12.5 | 3100
| P50 mould to windows, doors and skirting | 685 | m | 12.5 | 8562.5
FIXING CARPENTER
Fixing Labour
| Install strip Flooring | 96 | hr | 50 | 4800
| Timber lining boards | 64 | hr | 50 | 3200
| Hang Doors | 32 | hr | 50 | 1600
| Skirtings | 32 | hr | 50 | 1600
| Fittings & Fixtures | 48 | hr | 50 | 2400
| Install Attic Ladder | 4 | hr | 50 | 200
| Final adjustments | 48 | hr | 50 | 2400
| Fixing Hardware | 1 | job | 400 | 400
| 170x19 Messmate flooring | 1463 | m | 19.32 | 28265.16
| 100x12 Messmate lining | 1020 | m | 5.36 | 5467.2
| Solid Core Door 2340x820-520 | 8 | each | 160 | 1280
| Solid Core Door 2340xover sized doors | 2 | each | 380 | 760
| Jambset 110mm x 45 Rebated 2410x825 | 10 | each | 85 | 850
| 42x13 MDF skirting | 216 | m | 1 | 216
| Passage sets | 8 | each | 80 | 640
| Flush pulls | 4 | each | 20 | 80
| Door stops | 10 | each | 20 | 200
| Privacy adapters | 5 | each | 50 | 250
| Attic Ladder | 1 | job | 1200 | 1200
JOINERY
| Kitchen -Laminate per mtr | 4 | m | 480 | 1920
| Kitchen -Laminate per mtr | 3 | m | 1200 | 3600
| Kitchen - Laminate bulkhead | 5.2 | m | 300 | 1560
| Kitchen -Timber Veneered Fronts and panels with recessed doors and fronts per mtr | 9.8 | m | 800 | 7840
| Kitchen -Maximum Soft Touch porcelain Benchtops | 7.72 | m2 | 800 | 6176
| Kitchen -Hardwood benchtop | 2.4 | m2 | 360 | 864
| Woven Steel Mesh basket Provisional Sum | 1 | job | 3000 | 3000
| Living- solid timbe joinery unit | 4.4 | m | 800 | 3520
| Bathroom/Ensuite/pwd - Ply cabintes | 2.2 | m | 600 | 1320
| Bathroom -Maximum Soft Touch porcelain Benchtops | 1.1 | m2 | 800 | 880
| Bathroom 2 - Laminate per mtr | 0.6 | m | 480 | 288
| Bathroom 2 -Maximum Soft Touch porcelain Benchtops | 1.19 | m2 | 800 | 952
| Hall Joinery Ply finish | 6.7 | m | 1000 | 6700
| Study desk | 2.3 | m | 400 | 920
| Bunk room Cabinets | 4.2 | m | 1000 | 4200
| Bunks | 4.2 | m | 1000 | 4200
| Bed Cabinetry | 4.4 | m | 1200 | 5280
| Bedroom Cabinetry | 3.1 | m | 600 | 1860
| Bedroom Book shelfs and desk | 1 | each | 1200 | 1200
| Powder | 1 | each | 400 | 400
| WC | 1 | each | 400 | 400
| Laundry- Laminate fronts & Top | 1.8 | m | 600 | 1080
| Laundry - Laminate | 1.9 | m | 1000 | 1900
METALWORKER
| Steel storage boxs | 3 | each | 300 | 900
| Steel Benchtop | 1 | each | 500 | 500
| 250x10 Aluminium powdercoat finish | 5.4 | m | 80 | 432
WATERPROOFING
| Waterproofing floors inc floor/wall junction per M2 | 37 | m2 | 50 | 1850
| Angle fitted to doorway | 5 | each | 10 | 50
| Waterproof Membrane to showers | 2 | each | 380 | 760
TILER
| Wall Tiles | 31 | m2 | 17.6 | 545.6
| Floor tiles | 36.2353 | m2 | 75.35 | 2730.328
| Labour to Lay Ceramic Floor Tiles | 37 | m2 | 50 | 1850
| Labour to Lay Ceramic Wall Tiles | 31 | m2 | 50 | 1550
| Labour to lay tile to showerbase | 2 | each | 150 | 300
| Labour tolay niche | 2 | each | 200 | 400
PAINTER
| Premium Paint finish internal & external | 274 | m2 | 70 | 19180
| Extra to paint timber cladding external Kutec finish | 205 | each | 40 | 8200
| Clear Finish to Timber Linings | 86 | m2 | 22 | 1892
GLAZIER
| 6.0mm Smoked Glass mirrors | 9.9 | m2 | 250 | 2475
| 6mm mirror - Framed or Polished Edge - Per M2 | 2 | m2 | 100 | 200
| Powder coated steel mirror surraounds | 3 | each | 300 | 900
FITTINGS & FIXTURES
| Franke sink | 1 | each | 1200 | 1200
| Teknobilli T2 Oz Sink mixer | 1 | each | 158.61 | 158.61
| Whitestone Hox counter basin 1th Wh/Cp | 3 | each | 235 | 705
| Roca wall Hung Basin | 2 | each | 542 | 1084
| Standard Plug & waste 32mm x 40mm in chrome (non overflow) | 2 | each | 90 | 180
| Posh solus 70lt trough | 1 | each | 445 | 445
| Nobili Sink mixer | 1 | each | 267 | 267
| Dura Arco w/machine stop (set of 2) | 2 | each | 25.42 | 50.84
| Phoenix Liscio Vessel Mixer | 5 | each | 372 | 1860
| Sussex shower head | 1 | each | 317 | 317
| Sussex shower head | 1 | each | 226 | 226
| Mili Shower Mixer | 1 | each | 299 | 299
| Mili Shower Mixer | 1 | each | 264 | 264
| Robe Hooks | 6 | each | 20 | 120
| Towel rails | 4 | each | 150 | 600
| Toilet rol Holders | 2 | each | 100 | 200
| Mizu Drift Floor Mount Bath out let | 1 | each | 418 | 418
| Ideal standard Toilet suites | 2 | each | 608 | 1216
| Shower Grates | 4.2 | m | 240 | 1008
FLOORCOVERINGS
| Floor sander per M2 (rate = gloss finish) | 237 | m2 | 29.5 | 6991.5
| extra for satin or semi-gloss finish - per M2 | 237 | m2 | 1 | 237
| Oiling of timber decking | 74 | m2 | 22 | 1628
APPLIANCES
| Insinkorator | 1 | each | 770 | 770
| Qasair rangehood | 1 | each | 2990 | 2990
EXTERNAL WORKS
| Retractable External Blind | 1 | job | 2710 | 2710
| Concrete Pavers | 8.3349 | m2 | 140 | 1166.8867
| Crushed rock Drive | 173.689 | m2 | 25 | 4342.2255
SITE CLEAN
| Remove Debris, rake & Clean site on completion | 1 | each | 3000 | 3000
| Internal final house detail prior to handover | 274 | m2 | 7 | 1918
| 6m3 bin hire & removal | 10 | each | 500 | 5000
Subtotal |  |  |  |  | 860142.7306
Adjustment |  |  |  |  | 129037.19
G.S.T |  |  |  |  | 98917.9921
Total |  |  |  |  | 1088097.9127

## Trade Breakup Showing Markup
Bill Ref. | Description | Quantity | Unit | Rate | Markup | Total
AREAS
| Living area | 273.2 | m2 | 0 | 0 | 0
| Carport | 50.1 | m2 | 0 | 0 | 0
| Decks | 74 | m2 | 0 | 0 | 0
| Porches | 19.1 | m2 | 0 | 0 | 0
PRELIMINARIES
| Material Take off, Estimating & Quantity surveying | 850000 | % | 0.0025 | 0 | 2125
| Supervision and coordination 0f suppliers and contractors | 1116000 | % | 0.03 | 0 | 33480
| Home Owners Warranty Insurance job up to 1,000,000.00 | 1 | item | 4002 | 0 | 4002
| Contract works Insurance | 1 | job | 1800 | 0 | 1800
| 3 months maintenance work | 1 | each | 1200 | 0 | 1200
| Contingency sums | 1 | job | 4000 | 0 | 4000
TEMPORARY SERVICES
| Chemical toilet (16 weeks) inc damage waiver | 1 | each | 345.6 | 0 | 345.6
| Chemical toilet inc damage waiver per week | 24 | week | 21.6 | 0 | 518.4
| Servicing of chemical toilet | 10 | each | 25 | 0 | 250
| Connection of temporary power pole | 1 | item | 285 | 0 | 285
| Temporary power supply | 10 | mont | 85 | 0 | 850
| Site shed | 40 | job | 75 | 0 | 3000
| Rubbish Basket for site | 1 | each | 91 | 0 | 91
| 3000 Lt water tank for temporary water supply | 1 | each | 540 | 0 | 540
| Water Supply during Constructions | 1 | job | 1000 | 0 | 1000
| Delivery | 2 | each | 100 | 0 | 200
SITE PREPERATION
| Scrape site to maximum Depth of 150mm and remove vegetable soils read for construction | 760.4612 | item | 2 | 0 | 1520.9224
| set out building ready for construction | 1 | job | 720 | 0 | 720
| Surveyor to provide setout points | 1 | item | 1200 | 0 | 1200
HIRE ITEMS
| Mobile crane hire (min 4 hr hire) to place beams etc | 8 | hr | 200 | 0 | 1600
| Perimeter Guradrail to roof (Fall protection) | 118 | m | 15 | 0 | 1770
| Mobile scaffold Hire | 6 | weeks | 360 | 0 | 2160
DRAINER
| 100mm P.V.C Sewer per mtr | 40 | m | 45 | 0 | 1800
| 100mm P.V.C Suspended Sewer per mtr | 89.0011 | m | 45 | 0 | 4005.0501
| 100mm P.V.C stormwater per mtr | 180 | m | 25 | 0 | 4500
| Oztanks Under deck tanks 5000 lt | 6 | each | 1655 | 0 | 9930
| Install Water tanks | 6 | each | 500 | 0 | 3000
| Install Soak pits | 2 | each | 500 | 0 | 1000
| Pressure pump | 1 | each | 1300 | 0 | 1300
TERMITE PROTECTION
| Termite chemical spray sub timber floor | 350 | m2 | 3.3 | 0 | 1155
| Termite spray to perimeter of building "part B" | 113 | m | 5.5 | 0 | 621.5
CONCRETOR
| Strip footings per M3 350w x 800d with 3-L12 TM top and bottom | 55.8 | m3 | 460 | 0 | 25668
| Slab per M2 (M class) | 8.091 | m2 | 135 | 0 | 1092.2785
| Additional Boxing to Footing walls above ground | 113 | m | 42 | 0 | 4746
| Pad Footings | 6.2 | m3 | 460 | 0 | 2852
| Extra bulk concrete per M3 | 4 | m3 | 200 | 0 | 800
| Concrete pump-Boom (min 4 hrs) | 8 | hr | 180 | 0 | 1440
| Concrete pump travel per hour | 4 | hr | 180 | 0 | 720
| Concrete pump per metres pumped | 62 | m3 | 7.5 | 0 | 465
BASE BRICKLAYER
| White brick sand per m3 | 5 | m3 | 48 | 0 | 240
| Clear waterproof liquid (5lts) | 2 | each | 14 | 0 | 28
| GP builder's cement per 20kg bag | 40 | each | 7.2 | 0 | 288
| Limil per 20kg bag | 20 | each | 9.5 | 0 | 190
| Double ring ties per bag | 3 | each | 5 | 0 | 15
| Hoop Iron 30mts | 2 | each | 19 | 0 | 38
| Cartage per delivery | 1 | each | 45 | 0 | 45
| Mixed Pressed Seconds | 5072 | m2 | 0.55 | 0 | 2789.6
| Face brick - flush/rendered - up to 3.6m - per 1000 | 5100 | each | 0.9 | 0 | 4590
FRAME CARPENTER
FRAME CARPENTER
| set out and dig stump holes | 48 | hr | 50 | 0 | 2400
| Install Stumps | 48 | hr | 50 | 0 | 2400
| Bearers & Joists | 96 | hr | 50 | 0 | 4800
| Flooring | 48 | hr | 50 | 0 | 2400
| set out walls | 24 | hr | 50 | 0 | 1200
| Knock Up walls | 120 | hr | 50 | 0 | 6000
| Help with steel | 24 | hr | 50 | 0 | 1200
| Install Trusses | 48 | hr | 50 | 0 | 2400
| Pitch roof and verandahs | 120 | hr | 50 | 0 | 6000
| Roof Battens & Box Gutters | 48 | hr | 50 | 0 | 2400
| Tiedowns & Bracing | 48 | hr | 50 | 0 | 2400
| Install windows | 48 | hr | 50 | 0 | 2400
| Drop Ceilings and Bulkheads | 48 | hr | 50 | 0 | 2400
| Misc | 48 | hr | 50 | 0 | 2400
| Frame hardware (Nails, Clips, Ties etc) | 1 | job | 1200 | 0 | 1200
| Stump Hole digger (Tractor or similar) | 118 | Each | 3.5 | 0 | 413
| 20MPa Concrete to stump holes | 5 | m3 | 220 | 0 | 1100
| 100x100 Concrete stumps | 141.6 | m | 9.7 | 0 | 1373.52
| Gal. Metal Ant Caps to suit 100 x 100 stumps | 118 | Each | 1.25 | 0 | 147.5
| F8 OB Hardwood | 2.3 | m3 | 650 | 0 | 1495
| 90x35 MGP10 Pine | 665 | m | 1.65 | 0 | 1097.25
| 90x45 MGP10 Pine | 409.1 | m | 2.2 | 0 | 900.02
| 90x45 MGP10 Pine studs | 725.4 | m | 2.2 | 0 | 1595.88
| 90x35 MGP10 Pine studs | 972 | m | 1.65 | 0 | 1603.8
| 140x45 F7 Laserpine | 225.3 | m | 4.2 | 0 | 946.26
| 190x45 F7 Laserpine | 137.1 | m | 6 | 0 | 822.6
| 240x45 F7 Laserpine | 111.6 | m | 7.5 | 0 | 837
| 290x45 F7 Laserpine | 9.6 | m | 10.5 | 0 | 100.8
| 90x45 F17 hardwood | 30 | m | 5.2 | 0 | 156
| 190x45 F17 hardwood | 10.8 | m | 11.9 | 0 | 128.52
| 240x45 F17 hardwood | 36 | m | 16.6 | 0 | 597.6
| 290x45 F17 hardwood | 8.4 | m | 22.5 | 0 | 189
| 90x45 Treated Pine | 1227.3 | m | 3.98 | 0 | 4884.654
| 140x45 Treated Pine | 12 | m | 6 | 0 | 72
| 190x45 Treated Pine | 70.2 | m | 8 | 0 | 561.6
| 240x45 LVL Hyspan | 28.8 | m | 13.95 | 0 | 401.76
| 150x75 recycled hwd | 84 | m | 160 | 0 | 13440
| 200x100 recycled hwd | 14.4 | m | 180 | 0 | 2592
| Yellow Tongue Flooring 3600x900 | 73 | each | 34.5 | 0 | 2518.5
| 15mm Ply Flooring 2400x1200 | 5 | each | 50 | 0 | 250
| Secura Floor Internal 2700x600 | 17 | each | 86.4 | 0 | 1468.8
| Flooring Glue Tubes | 35 | Each | 4 | 0 | 140
| Plybrace 2700x1200 | 12 | each | 27.4 | 0 | 328.8
| Minibrace 4.2m | 18 | each | 7.1 | 0 | 127.8
| Roof Trusses | 255.0513 | m2 | 48 | 0 | 12242.4611
| Delivery | 4 | each | 50 | 0 | 200
STRUCTURAL STEEL
| Structural Steel work fabricated and installed as per attached schedule | 1 | job | 12705.34 | 0 | 12705.34
WINDOWS
| Powdercoated aluminium double glazed windows and sliding doors Capral 400 series or similar | 105.1038 | m2 | 600 | 0 | 63062.25
| Powdercoated aluminium double glazed skylights with Solar eclipse glazing | 1.753 | m2 | 850 | 0 | 1490.05
| Powdercoated aluminium with 150mm WRC louvers | 1.92 | m2 | 600 | 0 | 1152
| Powdercoated Aluminium Louver screen to Plant area | 2.5 | m2 | 400 | 0 | 1000
| Fly screens | 14 | each | 45 | 0 | 630
| Fly doors | 5 | each | 300 | 0 | 1500
ROOF PLUMBER
| Labour to install sheet roofing | 474 | m2 | 20 | 0.1 | 10428
| Labour to Install Metal cladding | 247 | m2 | 25 | 0.1 | 6792.5
| Labour to install Flashings | 516 | m | 10 | 0.1 | 5676
| Labour to install gutters | 35 | m | 15 | 0.1 | 577.5
| Labour to install down pipes | 4 | each | 80 | 0.1 | 352
| Roofing Hardware | 1 | job | 1500 | 0.1 | 1650
| Custom Orb Roofing Colorbond. | 411 | m2 | 15.5 | 0.1 | 7007.55
| Cliplock Roofing .42 BMT 685mm wide. Color | 63 | m2 | 15.5 | 0.1 | 1074.15
| Clip lock roofing Clips | 120 | each | 2.45 | 0.1 | 323.4
| Mini Orb .42 825 Wide Colorbond | 247 | m2 | 37.36 | 0.1 | 10150.712
| Downpipe Pops. 90mm Round. Zinc. | 4 | each | 7.75 | 0.1 | 34.1
| Flashing 200 3 fold Color | 245 | m | 6.53 | 0.1 | 1759.835
| Flashing 400 3 fold Color | 271 | m | 10.4 | 0.1 | 3100.24
| Flashing 800 2 fold Color | 35 | m | 17.1 | 0.1 | 658.35
| Sumps | 4 | each | 65 | 0.1 | 286
| Foil / Blanket. 75mm x 15m rolls. | 26.3333 | each | 143.5 | 0.1 | 4156.7167
| Flashing to Flues | 1 | each | 250 | 0.1 | 275
| Install Roof Lights | 2 | each | 400 | 0.1 | 880
TOP BRICKLAYER
| White brick sand per m2 | 9 | m3 | 48 | 0 | 432
| GP builder's cement per 20kg bag | 72 | each | 7.2 | 0 | 518.4
| Limil per 20kg bag | 36 | each | 9.5 | 0 | 342
| Face wall ties per box | 3 | each | 14 | 0 | 42
| Split expansion ties | 1 | each | 25.45 | 0 | 25.45
| Foam expansion joint 75mmx10mmx6m | 1 | each | 30 | 0 | 30
| Mixed Pressed Seconds | 8495 | m2 | 0.55 | 0 | 4672.25
| Angle 100x100x6 @ 1500mm | 1 | each | 34.8 | 0 | 34.8
| Angle 100x100x8 @ 2400mm | 3 | each | 73.03 | 0 | 219.09
| Angle 150x100x8 @ 3000mm | 3 | each | 122.01 | 0 | 366.03
| Cartage per delivery | 1 | each | 50 | 0 | 50
| Face brick - flush/rendered - up to 3.6m - per 1000 | 8500 | each | 0.9 | 0 | 7650
| Fit sisalation paper - per unit/townhouse | 1 | each | 250 | 0 | 250
STONE MASON
| Basket Range Sandstone ( Allowed 2.5m2 coverage / tonne) | 44 | tonne | 143 | 0 | 6292
| Labour to lay random stone walling | 108 | m2 | 300 | 0 | 32400
| White brick sand per m3 | 10 | m3 | 48 | 0 | 480
| Clear waterproof liquid (5lts) | 2 | each | 14 | 0 | 28
| Off white cement per 20kg bag | 80 | each | 9 | 0 | 720
| Limil per 20kg bag | 40 | each | 9.5 | 0 | 380
| N12 reinforcement bar | 710 | m | 2.85 | 0 | 2023.5
| 20 mpa 6mm aggreagte concrete to core fill walls | 4.5 | m3 | 220 | 0 | 990
| Labour to Place Reinforcement | 8 | hr | 45 | 0 | 360
| Labour to core fill walls | 24 | hr | 45 | 0 | 1080
| Cartage | 1 | job | 3300 | 0 | 3300
LOCKUP CARPENTER
Lock-Up Carpentry Labour
| Install Decking | 48 | hr | 50 | 0 | 2400
| Compressed sheet soffits | 32 | hr | 50 | 0 | 1600
| Compressed Sheet Cladding | 80 | hr | 50 | 0 | 4000
| Timber slat cladding | 80 | hr | 50 | 0 | 4000
| Timber Cladding | 80 | hr | 50 | 0 | 4000
| Straighten Frame | 16 | hr | 50 | 0 | 800
| Trim For Plaster | 16 | hr | 50 | 0 | 800
| Steps | 16 | hr | 50 | 0 | 800
| Install cavity Sliders | 8 | hr | 50 | 0 | 400
| Install Hinged Screens | 40 | hr | 50 | 0 | 2000
| Lock-Up Hardware | 1 | job | 2000 | 0 | 2000
| 120x20 Silvertop ash cladding | 885 | m | 10.15 | 0 | 8982.75
| 9.0mm Compressed sheet (Note 9.0mm allowed for as Hardies do not make a 6.0mm Compressed Sheet) | 240 | m2 | 34.3 | 0 | 8232
| 40x32 Blackbut | 320 | m | 8.73 | 0 | 2793.6
| 75x32 Blackbut | 320 | m | 11.36 | 0 | 3635.2
| 135x32 Blackbut | 320 | m | 15.3 | 0 | 4896
| Masonite Packing strips | 150 | each | 0.8 | 0 | 120
| 70x35 Merch Pine | 200 | m | 1.1 | 0 | 220
| 90x45 Treated Pine | 150 | m | 3.98 | 0 | 597
| 135x19 Blackbutt Decking | 580 | m | 11.37 | 0 | 6594.6
| 300x100 Blackbut | 13 | m | 200 | 0 | 2600
| Screen Frames with gas lift struts | 3 | each | 500 | 0 | 1500
| Cavity slider unit 234o x oversize | 1 | each | 400 | 0 | 400
| Breather sisilation 60m roll | 4 | each | 110 | 0 | 440
PLUMBER
| Roughin & Fit off Hot & Cold water system | 14 | each | 450 | 0 | 6300
ELECTRICAL SERVICES
| Underground Supply Pit | 1 | each | 2600 | 0 | 2600
| Underground connection per mtr | 255 | m | 45 | 0 | 11475
| Dig Electrical trench (min) | 8 | each | 300 | 0 | 2400
| Electric hot water service circuit | 1 | each | 160 | 0 | 160
| Smoke alarms each | 4 | each | 75 | 0 | 300
| Light points - total downlights / other lights | 108 | each | 55 | 0 | 5940
| Lighting Provisional sum allowance | 1 | job | 5000 | 0 | 5000
| Two-way light switching | 6 | each | 55 | 0 | 330
| Exhaust fans | 4 | each | 55 | 0 | 220
| Room lights - pendants | 3 | each | 35 | 0 | 105
| Internal GPOs (single or double) | 43 | each | 55 | 0 | 2365
| External weatherproof GPO (single or double) - on layout | 3 | each | 65 | 0 | 195
| External weatherproof GPO - water tank / hot water | 2 | each | 75 | 0 | 150
| GPO & Light to roof space for heating unit | 1 | each | 150 | 0 | 150
| Power supply to blinds | 1 | each | 80 | 0 | 80
| Dishwasher point | 1 | each | 95 | 0 | 95
| Rangehood wire and install | 1 | each | 90 | 0 | 90
| Electric wall oven 32 amp | 1 | each | 160 | 0 | 160
| Heating/cooling condensor each | 2 | each | 300 | 0 | 600
| Foxtel points each | 3 | each | 55 | 0 | 165
| TV points each | 3 | each | 55 | 0 | 165
| Install sweep fan each | 4 | each | 100 | 0 | 400
| switchboard equipment installed | 1 | each | 300 | 0 | 300
| Meterbox & equipment installed | 1 | each | 400 | 0 | 400
| Earthing bond & stake | 1 | each | 85 | 0 | 85
| 4 Kw solar PV Cell system | 1 | each | 8500 | 0 | 8500
| Inspection & certificate of Compliance | 1 | each | 250 | 0 | 250
MECHANICAL SERVICES
| Hydronic Heating system as quoted by | 1 | job | 53491 | 0 | 53491
| Reverse Cycle ducted airconditioning system Provisional sum allowance | 1 | job | 10000 | 0 | 10000
| Inline Ducted exhaust fans and linear gril | 2 | each | 600 | 0 | 1200
INSULATION
| Bradford R2.5 Optimo underfloor insulation | 274 | m2 | 9.75 | 0 | 2671.5
| R4.0 Comfortseal ceiling per M2 | 274 | m2 | 6.4 | 0 | 1753.6
| Stringing ceiling batts per M2 | 274 | m2 | 0.88 | 0 | 241.12
| R2.0 Soundscreen wall Batts per M2 | 144.621 | m2 | 9.47 | 0 | 1369.5608
| R2.7 Gold Batts to wall Batts per M2 | 274 | m2 | 11.2 | 0 | 3068.8
| Sound Lagging to sewer pipes | 12 | m | 30 | 0 | 360
| Sound lagging to sewer pipes Bend | 8 | each | 30 | 0 | 240
| R1.9 Kingspan insulation to Stone walls | 55 | m2 | 22.5 | 0 | 1237.5
RENDERER
| Rendering to brickwork per M2 (To be painted) | 164 | m2 | 35 | 0 | 5740
| Rockcote render finish to wet areas | 12 | m2 | 60 | 0 | 720
PLASTERER
| 10mm Plasterboard installed to walls & ceilings | 950 | m2 | 22 | 0 | 20900
| Install metal ceiling Battens | 248 | m2 | 2.52 | 0 | 624.96
| P50 bead in lieu of cornice | 248 | m | 12.5 | 0 | 3100
| P50 mould to windows, doors and skirting | 685 | m | 12.5 | 0 | 8562.5
FIXING CARPENTER
Fixing Labour
| Install strip Flooring | 96 | hr | 50 | 0 | 4800
| Timber lining boards | 64 | hr | 50 | 0 | 3200
| Hang Doors | 32 | hr | 50 | 0 | 1600
| Skirtings | 32 | hr | 50 | 0 | 1600
| Fittings & Fixtures | 48 | hr | 50 | 0 | 2400
| Install Attic Ladder | 4 | hr | 50 | 0 | 200
| Final adjustments | 48 | hr | 50 | 0 | 2400
| Fixing Hardware | 1 | job | 400 | 0 | 400
| 170x19 Messmate flooring | 1463 | m | 19.32 | 0 | 28265.16
| 100x12 Messmate lining | 1020 | m | 5.36 | 0 | 5467.2
| Solid Core Door 2340x820-520 | 8 | each | 160 | 0 | 1280
| Solid Core Door 2340xover sized doors | 2 | each | 380 | 0 | 760
| Jambset 110mm x 45 Rebated 2410x825 | 10 | each | 85 | 0 | 850
| 42x13 MDF skirting | 216 | m | 1 | 0 | 216
| Passage sets | 8 | each | 80 | 0 | 640
| Flush pulls | 4 | each | 20 | 0 | 80
| Door stops | 10 | each | 20 | 0 | 200
| Privacy adapters | 5 | each | 50 | 0 | 250
| Attic Ladder | 1 | job | 1200 | 0 | 1200
JOINERY
| Kitchen -Laminate per mtr | 4 | m | 480 | 0 | 1920
| Kitchen -Laminate per mtr | 3 | m | 1200 | 0 | 3600
| Kitchen - Laminate bulkhead | 5.2 | m | 300 | 0 | 1560
| Kitchen -Timber Veneered Fronts and panels with recessed doors and fronts per mtr | 9.8 | m | 800 | 0 | 7840
| Kitchen -Maximum Soft Touch porcelain Benchtops | 7.72 | m2 | 800 | 0 | 6176
| Kitchen -Hardwood benchtop | 2.4 | m2 | 360 | 0 | 864
| Woven Steel Mesh basket Provisional Sum | 1 | job | 3000 | 0 | 3000
| Living- solid timbe joinery unit | 4.4 | m | 800 | 0 | 3520
| Bathroom/Ensuite/pwd - Ply cabintes | 2.2 | m | 600 | 0 | 1320
| Bathroom -Maximum Soft Touch porcelain Benchtops | 1.1 | m2 | 800 | 0 | 880
| Bathroom 2 - Laminate per mtr | 0.6 | m | 480 | 0 | 288
| Bathroom 2 -Maximum Soft Touch porcelain Benchtops | 1.19 | m2 | 800 | 0 | 952
| Hall Joinery Ply finish | 6.7 | m | 1000 | 0 | 6700
| Study desk | 2.3 | m | 400 | 0 | 920
| Bunk room Cabinets | 4.2 | m | 1000 | 0 | 4200
| Bunks | 4.2 | m | 1000 | 0 | 4200
| Bed Cabinetry | 4.4 | m | 1200 | 0 | 5280
| Bedroom Cabinetry | 3.1 | m | 600 | 0 | 1860
| Bedroom Book shelfs and desk | 1 | each | 1200 | 0 | 1200
| Powder | 1 | each | 400 | 0 | 400
| WC | 1 | each | 400 | 0 | 400
| Laundry- Laminate fronts & Top | 1.8 | m | 600 | 0 | 1080
| Laundry - Laminate | 1.9 | m | 1000 | 0 | 1900
METALWORKER
| Steel storage boxs | 3 | each | 300 | 0 | 900
| Steel Benchtop | 1 | each | 500 | 0 | 500
| 250x10 Aluminium powdercoat finish | 5.4 | m | 80 | 0 | 432
WATERPROOFING
| Waterproofing floors inc floor/wall junction per M2 | 37 | m2 | 50 | 0 | 1850
| Angle fitted to doorway | 5 | each | 10 | 0 | 50
| Waterproof Membrane to showers | 2 | each | 380 | 0 | 760
TILER
| Wall Tiles | 31 | m2 | 16 | 0.1 | 545.6
| Floor tiles | 36.2353 | m2 | 68.5 | 0.1 | 2730.328
| Labour to Lay Ceramic Floor Tiles | 37 | m2 | 50 | 0 | 1850
| Labour to Lay Ceramic Wall Tiles | 31 | m2 | 50 | 0 | 1550
| Labour to lay tile to showerbase | 2 | each | 150 | 0 | 300
| Labour tolay niche | 2 | each | 200 | 0 | 400
PAINTER
| Premium Paint finish internal & external | 274 | m2 | 70 | 0 | 19180
| Extra to paint timber cladding external Kutec finish | 205 | each | 40 | 0 | 8200
| Clear Finish to Timber Linings | 86 | m2 | 22 | 0 | 1892
GLAZIER
| 6.0mm Smoked Glass mirrors | 9.9 | m2 | 250 | 0 | 2475
| 6mm mirror - Framed or Polished Edge - Per M2 | 2 | m2 | 100 | 0 | 200
| Powder coated steel mirror surraounds | 3 | each | 300 | 0 | 900
FITTINGS & FIXTURES
| Franke sink | 1 | each | 1200 | 0 | 1200
| Teknobilli T2 Oz Sink mixer | 1 | each | 158.61 | 0 | 158.61
| Whitestone Hox counter basin 1th Wh/Cp | 3 | each | 235 | 0 | 705
| Roca wall Hung Basin | 2 | each | 542 | 0 | 1084
| Standard Plug & waste 32mm x 40mm in chrome (non overflow) | 2 | each | 90 | 0 | 180
| Posh solus 70lt trough | 1 | each | 445 | 0 | 445
| Nobili Sink mixer | 1 | each | 267 | 0 | 267
| Dura Arco w/machine stop (set of 2) | 2 | each | 25.42 | 0 | 50.84
| Phoenix Liscio Vessel Mixer | 5 | each | 372 | 0 | 1860
| Sussex shower head | 1 | each | 317 | 0 | 317
| Sussex shower head | 1 | each | 226 | 0 | 226
| Mili Shower Mixer | 1 | each | 299 | 0 | 299
| Mili Shower Mixer | 1 | each | 264 | 0 | 264
| Robe Hooks | 6 | each | 20 | 0 | 120
| Towel rails | 4 | each | 150 | 0 | 600
| Toilet rol Holders | 2 | each | 100 | 0 | 200
| Mizu Drift Floor Mount Bath out let | 1 | each | 418 | 0 | 418
| Ideal standard Toilet suites | 2 | each | 608 | 0 | 1216
| Shower Grates | 4.2 | m | 240 | 0 | 1008
FLOORCOVERINGS
| Floor sander per M2 (rate = gloss finish) | 237 | m2 | 29.5 | 0 | 6991.5
| extra for satin or semi-gloss finish - per M2 | 237 | m2 | 1 | 0 | 237
| Oiling of timber decking | 74 | m2 | 22 | 0 | 1628
APPLIANCES
| Insinkorator | 1 | each | 770 | 0 | 770
| Qasair rangehood | 1 | each | 2990 | 0 | 2990
EXTERNAL WORKS
| Retractable External Blind | 1 | job | 2710 | 0 | 2710
| Concrete Pavers | 8.3349 | m2 | 140 | 0 | 1166.8867
| Crushed rock Drive | 173.689 | m2 | 25 | 0 | 4342.2255
SITE CLEAN
| Remove Debris, rake & Clean site on completion | 1 | each | 3000 | 0 | 3000
| Internal final house detail prior to handover | 274 | m2 | 7 | 0 | 1918
| 6m3 bin hire & removal | 10 | each | 500 | 0 | 5000
Subtotal | [5 empty] | 860142.7306
Adjustment | [5 empty] | 129037.19
G.S.T | [5 empty] | 98917.9921
Total | [5 empty] | 1088097.9127

## Trade Summary
Description | % Job | Cost per Unit | Total
AREAS |  |  | 0
PRELIMINARIES | 5.4179 |  | 46607
TEMPORARY SERVICES | 0.82302 |  | 7080
SITE PREPERATION | 0.39999 |  | 3440.9224
HIRE ITEMS | 0.64284 |  | 5530
DRAINER | 2.9683 |  | 25535.0501
TERMITE PROTECTION | 0.20651 |  | 1776.5
CONCRETOR | 4.3921 |  | 37783.2785
BASE BRICKLAYER | 0.95596 |  | 8223.6
FRAME CARPENTER | 11.0122 |  | 94732.1251
STRUCTURAL STEEL | 1.4769 |  | 12705.34
WINDOWS | 8.0017 |  | 68834.3
ROOF PLUMBER | 6.4269 |  | 55182.0537
TOP BRICKLAYER | 1.7009 |  | 14632.02
STONE MASON | 5.586 |  | 48053.5
LOCKUP CARPENTER | 7.4178 |  | 63811.15
PLUMBER | 0.73235 |  | 6300
ELECTRICAL SERVICES | 4.9614 |  | 42680
MECHANICAL SERVICES | 7.52 |  | 64691
INSULATION | 1.272 |  | 10942.0808
RENDERER | 0.75095 |  | 6460
PLASTERER | 3.8579 |  | 33187.46
FIXING CARPENTER | 6.4875 |  | 55808.36
JOINERY | 6.9817 |  | 60060
METALWORKER | 0.21296 |  | 1832
WATERPROOFING | 0.30921 |  | 2660
TILER | 0.85742 |  | 7375.928
PAINTER | 3.4027 |  | 29272
GLAZIER | 0.41558 |  | 3575
FITTINGS & FIXTURES | 1.2343 |  | 10618.45
FLOORCOVERINGS | 1.0295 |  | 8856.5
APPLIANCES | 0.43708 |  | 3760
EXTERNAL WORKS | 0.95544 |  | 8219.1122
SITE CLEAN | 1.1529 |  | 9918
Subtotal |  |  | 860142.7306
Adjustment |  |  | 129037.19
G.S.T |  |  | 98917.9921
Total |  |  | 1088097.9127