| Qualification Code |  | Qualification Name and Release Number |  |
| --- | --- | --- | --- |
| Unit Code | UEPOPS456A | Unit Name | Perform switching to a switching program |

| Summary of Assessment Events |  |  |
| --- | --- | --- |
| Event Number/Name | Description | Assessment Method |
| This unit can be concurrently assessed with UETTDRIS69A Diagnose and rectify faults in energy supply Apparatus & UEPPO428A-Develop HV Switching Program |  | C. |
| Assessment 1 | Written assessment on knowledge of system operation Energy Supply apparatus | Written Test |
| Assessment 2 | Practical assessment and observation on operation of naval system by switching action | Practical Observation and portfolio in the workbook “UEPOPS Units Wk Plc Obs _V02 2016 11 18_” |

| #### Evidence Requirements |  |  | Assessment Methods |  |  |  |  |  | Learner Resources |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| #### Ways in which evidence will be collected (E.g. Written, observation etc.) |  |  | Written | Practical | Observation | Oral Questioning | Portfolio | Add assessment method |  |
| Element | Performance Criteria (Indicate where each element/performance criterion will be assessed. E.g. Task 1, Q4 etc.) |  |  |  |  |  |  |  |  |
| Prepare for switching program | 1.1 | Confirm qualifications/authorisations to perform switching operations with party coordinating switching program | 1.1 (Q1 to 3) IS69A |  | Check List 1a in UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |  |
|  | 1.2 | Occupational health & safety standards, statutory/enterprise regulations, codes of practice and environmental requirements are identified, applied and monitored throughout the program | 1.1 (Q5-7) IS69A |  | Check List 1b in UEOPO456A of UEPOPS Units Wk Plc Obs |  |  |  |  |
|  | 1.3 | Contingency plans are discussed with party coordinating switching program |  |  | Check List 1 (C) UEOPO456A UEPOPS Units Wk Plc Obs |  |  |  |  |
|  | 1.4 | Permits and access requirements are identified prior to program commencement | Q53 UEPOP428 |  |  |  |  |  |  |
|  | 1.5 | Documentation is received and checked prior to starting the switching program |  | Check List 1 (e) UEOPO456A of UEPOPS Units Wk Plc Obs | Check List 1 (e) UEOPO456A Of UEPOPS Units Wk Plc Obs | Check List 1 (e) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |
|  | 1.6 | Where appropriate, the teams and individuals roles and responsibilities within the team are identified and, where required, assist in the provision of the on-the-job training |  | Check List 1 (f) UEOPO456A Of UEPOPS Units Wk Plc Obs | Check List 1 (f) UEOPO456A Of UEPOPS Units Wk Plc Obs | Check List 1 (f) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |
| Carry out switching program | 2.1 | Confirm all parties involved in switching program are advised and directed to locations by party coordinating the switching |  | Check List 2 (a) UEOPO456A Of UEPOPS Units Wk Plc Obs | Check List 2 (a) UEOPO456A Of UEPOPS Units Wk Plc Obs | Check List 2 (a) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |
|  | 2.2 | Communication is established with the party coordinating the switching and they are maintained throughout duration of program |  | Check List 2 (b) UEOPO456A Of UEPOPS Units Wk Plc Obs | Check List 2 (b) UEOPO456A Of UEPOPS Units Wk Plc Obs | Check List 2 (b) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |
|  | 2.3 | Access to plant is obtained in accordance with enterprise/site policy |  |  | Check List 2 (C) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |  |
|  | 2.4 | Switching program steps are verified before and after each operation | Q53 UEPOP428 |  | Check List 2 (d) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |  |
|  | 2.5 | Switching steps are logged upon successful completion of each operation | Q53 UEPOP428 |  | Check List 2 (e) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |  |
|  | 2.6 | Permits are issued are monitored and recorded in accordance with enterprise procedures |  | Check List 2 (f) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |  |  |  |
|  | 2.7 | Switching program is completed and recorded in accordance with enterprise procedures |  |  | Check List 2 (g) UEOPO456A Of UEPOPS Units Wk Plc Obs |  | Check List 2 (g) UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |
| Complete documentation | 3.1 | Documentation is updated and equipment problems, abnormalities and status are reported and logged in accordance with enterprise/site procedures |  |  | Check List 3 (a) UEOPO456A Of UEPOPS Units Wk Plc Obs |  | Work Place Evidence UEOPO456A Of UEPOPS Units Wk Plc Obs |  |  |

| Required Skills (must be mapped to the tasks) | Assessment Methods |  |  |  |  |  | Learner Resources |
| --- | --- | --- | --- | --- | --- | --- | --- |
| The evidence must show the candidate can: | Written | Practical | Observation | Oral questioning | Portfolio | Add assessment method |  |
| REQUIRED SKILLS AND KNOWLEDGE |  |  |  |  |  |  |  |
| 8) This describes the essential skills and knowledge and their level, required for this unit. |  |  |  |  |  |  |  |
| Evidence shall show that knowledge has been acquired co-ordinating and directing switching programs. |  |  |  |  |  |  |  |
| All knowledge and skills detailed in this unit should be contextualised to current industry practices and technologies. |  |  |  |  |  |  |  |
| The extent of the Essential Knowledge and Associated Skills required follows: |  |  |  |  |  |  |  |
| KS01-PO456A Switching to a switching program |  |  |  |  |  |  |  |
| T1 Evidence shall show that knowledge has been acquired for safe working practices of: | Q1.1 (1 to 3) IS69A |  |  |  |  |  |  |
| - Relevant environmental, occupational health and safety legislation and regulations |  |  | A2 |  | A2 |  |  |
| - Enterprise procedures |  |  | A2 |  | A2 |  |  |
| - Plant drawings and manufacturers manuals | 2.2 (Q35) IS69A |  |  |  |  |  |  |
| - Introduction to and typical arrangements of power production plant | Q1.5 (24 to 26) IS69A |  |  |  |  |  |  |
| - Relevant plant and equipment, its location and operating parameters | Q1.6 (39) IS69A |  |  |  |  |  |  |
| - Relevant state and territory regulations |  |  |  | A2 | A2 |  |  |
| - Switchgear types and characteristics | Q2.2 (35 to 37) IS69A |  |  |  |  |  |  |
| - Electrical protection types and characteristics | Q2.4 (57 to 60) IS69A |  |  |  |  |  |  |
| - Electrical principles |  |  |  |  | A2 |  |  |
| - a.c. generators types and characteristics |  |  | A2 |  |  |  |  |
| - Transformers types and characteristics |  |  | A2 |  | A2 |  |  |
| - Risk management | Q1.3 (9 to 12) IS69A |  |  |  |  |  |  |
| - Leadership techniques |  |  | A2 |  |  |  |  |
| - Plant status | Q1.4 (5 to 14) IS69a |  |  |  |  |  |  |
| - Enterprise recording procedures |  |  |  |  |  |  |  |
| - Switching operations and procedures |  |  | A2 |  |  |  |  |
| - System diagrams | Q2.5 IS69A |  |  |  |  |  |  |
| - Systems (network) | Q2.5 IS69A |  |  |  |  |  |  |
| - Computers and software | Q1.5 (25/26) IS69A |  |  |  |  |  |  |
| T2 Specific skills needed to achieve the Performance Criteria: |  | A2 |  |  |  |  |  |
| - Interpret plant drawings and manufacturers manuals |  |  | A2 |  | A2 |  |  |
| - Apply relevant state and territory regulations |  |  |  | A2 |  |  |  |
| - Apply enterprise recording procedures |  |  | A2 |  |  |  |  |
| - Identify plant status | Q1.4 (5 to 14) IS69a |  |  |  |  |  |  |
| - Communicate effectively |  |  | A2 |  |  |  |  |
| - Acquire and analyse information relevant to system operation | Q2.5 |  |  |  |  |  |  |
| - Recognise abnormal plant/system operating conditions |  | A2 | A2 |  |  |  |  |
| - Determine appropriate corrective actions required | Q2.5 |  |  |  |  |  |  |
| - Plan and prioritise work |  |  | A2 |  |  |  |  |
| - Acquire and analyse information relevant to system operation | Q2.7 (19 to 21) IS69A |  |  |  |  |  |  |
| - Recognise abnormal plant/system operating conditions |  |  | A2 |  |  |  |  |
| - Apply leadership techniques |  |  | A2 |  |  |  |  |
| - Determine appropriate corrective actions required. |  | A2 |  |  |  |  |  |

| Critical Aspects | Assessment Methods |  |  |  |  |  | Learner Resources |
| --- | --- | --- | --- | --- | --- | --- | --- |
| The evidence must show the candidate can: | Written | Practical | Observation | Oral Questioning | Portfolio | Add assessment method |  |
| Critical aspects of evidence required to demonstrate competency in this unit |  |  |  |  |  |  |  |
| 9.2)Before the critical aspects of evidence are considered all pre-requisites shall be met. |  |  |  |  |  |  |  |
| Evidence for competence in this unit shall be considered holistically. Each element and associated Performance Criteria shall be demonstrated on at least two occasions in accordance with the “Assessment Guidelines – UEP12”. Evidence shall also comprise: |  |  |  |  |  |  |  |
| - A representative body of work performance demonstrated within the timeframes typically expected of the discipline, work function and industrial environment. In particular this shall incorporate evidence that shows a candidate is able to: |  |  |  |  |  |  |  |
| - Implement Occupational Health and Safety workplace procedures and practices including the use of risk control measures as specified in the Performance Criteria and Range Statement | X |  |  |  |  |  |  |
| - Apply sustainable energy principles and practices as specified in the Performance Criteria and Range Statement |  |  | X |  |  |  |  |
| - Demonstrate an understanding of the essential knowledge and associated skills as described in 6) Essential Knowledge and Associated Skills of this unit |  |  |  |  |  |  |  |
| - Demonstrate an appropriate level of employability skills |  |  | X |  |  |  |  |
| - Conduct work observing the relevant Anti-Discrimination legislation, regulations, polices and workplace procedure |  |  | X | X |  |  |  |
| - Demonstrated performance across a representative range of contexts from the prescribed items below: |  |  |  |  |  |  |  |
| - Occupational Health and Safety legislation; Statutory legislation; Enterprise/site safety procedures; Enterprise/site emergency procedures | X |  |  |  |  |  |  |
| - Preparing for switching programs | X | X |  |  |  |  |  |
| - Directing and coordinating switching programs |  | X | X |  |  |  |  |
| - Monitoring system integrity and stability |  | X | X |  |  |  |  |
| - Dealing with an unplanned event by drawing on essential knowledge and skills to provide appropriate solutions incorporated in the holistic assessment with the above listed items. | Q1.3 (9-12) IS69A |  |  |  |  |  |  |

| Dimensions of Competency to be incorporated into the tasks/assessment | Assessment Methods |  |  |  |  |  | Learner Resources |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Which assessment event/s allow the learner to demonstrate the following | Written | Practical | Observation | Oral Questioning | Portfolio | Add assessment method |  |  |
| Task Skills (undertaking the specific task/s required to complete a work activity to the required standards) | X | X |  |  |  |  |  |  |
| Task Management Skills (able to do more than one thing at a time and managing the tasks correctly) |  |  | X |  |  |  |  |  |
| Contingency Planning Skills (responding appropriately to irregularities and breakdowns in routine within a job or workplace) |  |  | X |  |  |  |  |  |
| Job Role Environment Skills (able to deal with the responsibilities and expectations of the work environment) |  |  | X |  |  |  |  |  |

LEARNER RESOURCES

G015/ IS67+68+ IS74

Page        196       to        231                of  http://www.filefactory.com/file/cf9bf8f/n/Video_Lessons.pdf

Power System (1)

G015(AA)Lesson 1-Distribution system.zip

http://youtu.be/VuzjXkRx4UI

G015(AA)Lesson 2-Demand factor.zip

http://youtu.be/cUGbxhBT-Dc

http://youtu.be/DCCl4cO3Vu8

G015(AA)Lesson 3-Sag.zip

http://youtu.be/1s496h-Iuu8

G015(AA)Lesson 4-OH Line mechanical design.zip

http://youtu.be/T0BnyqV9T6E

http://youtu.be/hu1TrUv2_OY

G015(AA)Lesson 5-UG Cable.zip

http://youtu.be/hHCLzMnVmT0

http://youtu.be/A5AieaBBZHo

G015(AA)Lesson 6-Voltage control.zip

http://youtu.be/y1vTM5fvfyU

http://youtu.be/Z9HBGsVgymA

G015(AE)Lesson 1-Power system protection scheme.zip

http://youtu.be/ihpd3cDAhBU

http://youtu.be/EGXkLRM2L9M

http://youtu.be/zOIUYQ7OJfs

G015(AE)Lesson 2-Differential relay.zip

http://youtu.be/2iW0oEScMsw

G015(AE)Lesson_3-Over_current_&_earth_fault_protection.zip

http://youtu.be/hvGjdO9jEhk

G015(AE)Lesson 4-Three phase differential relay.zip

http://youtu.be/2iW0oEScMsw

http://youtu.be/VuzjXkRx4UI

http://youtu.be/2iW0oEScMsw

G015(AE)Lesson 5-Current time grading.zip

http://youtu.be/r0qkLrmkKsM

G015AE Lesson 6

http://youtu.be/InsTLh7_N5k

G015(AE)Lesson_7-CT_PT.zip

http://youtu.be/ZF_y65xsM_M

G015(AE)Lesson 8-Distance relay.zip

http://youtu.be/NKzMVquFLu8

http://www.filefactory.com/file/c386a2e/n/G015_AE_Lesson_8-Distance_relay.zip

G015(AE)Lesson 9-Telecom in power protection.zip

http://youtu.be/9C6ogqZAKRg

http://youtu.be/XRpffA6hU_U

http://youtu.be/X-kz3cyL9fU

G015(AG)Lesson 1-Stability.zip

http://youtu.be/fUyNqcXtBXg

G015(AG)Lesson 2-Generator load sharing.zip

http://youtu.be/A-t7XH4rK4M

http://youtu.be/OTsis_KIRuk

http://youtu.be/8j1nD9nY2hU

G015(AG)Lesson 3-Power Flow.zip

http://youtu.be/0OzT4Pol-Jc

http://youtu.be/fK0wcaTY_rw

G015(AG)Lesson 4-IP based system.zip

http://youtu.be/ve5O8K9fL7k

G015(AG)Lesson 5-Surge in power system.zip

http://youtu.be/6WkezTcOzX4

G015(AG)Lesson 6-CTPT Harmonic filter.zip

http://youtu.be/Uy7q9SsaOYs

G015(AG)Lesson 7-Short circuit in alternator.zip

http://youtu.be/b-46Kvn8kJI

G015(AG)Lesson 8-Corona.zip

http://youtu.be/XYGRAWOqzsc

G015(AG)Lesson 9-Power surge.zip

http://youtu.be/uzFS-otIn-g

http://youtu.be/IsZ_ccy630w

G015(AG)Lesson_10-Static_Var_Compensation.zip

http://youtu.be/y-of5oLojCU

G015(AG)Lesson 11-PF Control+Fuel cell.zip

http://youtu.be/AXbCcoQeLns

G015(AG)Lesson_12-Exercises.zip

http://youtu.be/nRGScOH9aSM

G037+G038+G039 Part 1/2/3+IS69

Page    232           to            270            of  http://www.filefactory.com/file/cf9bf8f/n/Video_Lessons.pdf

Power System (2)

G037+G038+G039 Lesson 1-Power Flow.zip

http://youtu.be/mzwGGXRTtvw

G037+G038+G039 Lesson 2-Site Earthing.zip

http://youtu.be/PATkXVBF9kc

http://youtu.be/H4Dj1K238BE

G037+G038+G039 Lesson 3-Power System Control Equipments.zip

http://youtu.be/JJczbYVWOoI

G037+G038+G039 Lesson 4-Auxiliary System+Harmonic.zip

http://youtu.be/5mDNHGFLA0c

G037+G038+G039 Lesson 5-Harmonic.zip

http://youtu.be/n41q4Rmz2p0

http://youtu.be/8CelGV5AElk

G037+G038+G039 Lesson 6-Harmonic Calculation.zip

http://youtu.be/NHSzu6HkOgI

http://youtu.be/fSLrPIC6Mho

G037+G038+G039 Lesson 7-Synchronous Generator Loading.zip

:http://youtu.be/jv1q7Mtg7Gs

http://www.filefactory.com/file/c39be2f/n/G037_G038_G039_Lesson_7-Synchronous_Generator_Loading.zip

G037+G038+G039 Lesson 8-Turbine Control+Power Line Earthing.zip

http://youtu.be/0CvgkmDE3Kw

G037+G038+G039 Lesson 9-Insulator.zip

http://youtu.be/l4jqs8MLBFA

http://youtu.be/TiQezIA9Z-c

G037+G038+G039 Lesson 10-Reliability of Power System.zip

http://youtu.be/tIUk3nc1IxE

G037+G038+G039 Lesson 11-Harmonic Reduction.zip

http://youtu.be/8dYX-11kRcc

http://youtu.be/A684Agej8-w

G037+G038+G039 Lesson 12-Grounding + Power Quality.zip

http://youtu.be/QQPUj3WXJnA

G037+G038+G039 Lesson 13-Power Quality.zip

http://youtu.be/feI7SCb_QTY

http://youtu.be/mcK2YhDsnr0

G037+G038+G039 Lesson 14-Harmonic Model.zip

http://youtu.be/dwWBOq-BsLY

G037+G038+G039 Lesson 15-Harmonic Losses in Transformer.zip

http://youtu.be/mwEJgEEgPVc

http://youtu.be/1A6FY5f5ijM

http://youtu.be/yLiOKy7uJj0

G037+G038+G039 Lesson 16-Reliability Improvement.zip

http://youtu.be/cn-CfDWnUN8

G037+G038+G039 Lesson 17-Preparation for emergency.zip

http://youtu.be/La7Xip8GI2I

G037+G038+G039 Lesson 18-Harmonic problems.zip

http://youtu.be/0Urnkee_

http://youtu.be/zM_Xcwckicw

G037+G038+G039 Lesson 19-Synchronous machine problems.zip

http://youtu.be/Lx2S-NATr20

G037+G038+G039 Lesson 20-Power Generation + Generator Control.zip

http://youtu.be/56Ks8sArQxc

G037+G038+G039 Lesson 21-Turbine Control+ Digital Excitation.zip

http://youtu.be/uCsvv18qKwQ

http://youtu.be/I4vCDI2CZS0

G037+G038+G039 Lesson 22-Power System Protection.zip

http://youtu.be/c6iXRwfCYBU

G037+G038+G039 Lesson 23-Switch Gear.zip

http://youtu.be/DDpbzgNYTiM

http://youtu.be/2cl-nOdBNro

G040 + IS73

Page    271           to        284                of  http://www.filefactory.com/file/cf9bf8f/n/Video_Lessons.pdf

Power transformer

G040 Lesson 1 Power transformer rating 1.zip

http://youtu.be/qjWJVQAh_jA

G040 Lesson 1 Power transformer rating 2.zip

http://youtu.be/JonzO8JD-k4

G040 Lesson 2 Open circuit short circuit test.zip

http://youtu.be/Ru-KlKv40OY

G040 Lesson 3 Transformer regulation.zip

http://youtu.be/t6IZMwMj-B4

G040 Lesson 4 Power transformer connection.zip

http://youtu.be/iig8PISDN1I

G040 Lesson 5 Maximum efficiency.zip

http://youtu.be/Qa7l0eHTWTU

G040 Lesson 6 Transformer parallel operation.zip

http://youtu.be/dkRxoaozrOk

http://youtu.be/Sz5QY727w-8

G040 Lesson 7 Harmonic in transformer.zip

http://youtu.be/_YOlWb3e574

G040 Lesson 8 Transformer problem + auto transformer.zip

http://youtu.be/0KCscbCIUjk

G040_Lesson_9_Transformer_rating_cooling_connection_tap_changing.zip

http://youtu.be/d3XHm-wguzQ

http://youtu.be/XwiIkZnKFqQ

http://youtu.be/uOHBk840Bhw

G040 Lesson 10 Phase shift transformer.zip

http://youtu.be/7aWhg9DIoWI

G042+IS71

Page      285         to        307                of  http://www.filefactory.com/file/cf9bf8f/n/Video_Lessons.pdf

Transmission Line

G042 Lesson 1-Transmission line introduction.zip

http://youtu.be/DrOOgcKeaL4

G042 Lesson 2-DC Line+Line reflection.zip

http://youtu.be/jvVdecp-clk

G042 Lesson 3-Power line calculation.zip

http://youtu.be/3TgVt67DhvY

http://youtu.be/QT6aqsaM7a0

http://youtu.be/WxjQIkdJjQ8

G042 Lesson 4-Line model+Economic aspect.zip

http://youtu.be/1HRdGZXp_-w

G042 Lesson 5-Time value of money+Line reflection.zip

http://youtu.be/n9mupLQWANY

http://youtu.be/YdfiX2gL-3c

G042 Lesson 6-Line matching+Wave guide.zip

http://youtu.be/1WyP5_Cek40

G042 Lesson 7-Wave guide.zip

http://youtu.be/BuGtjZ3QBXk

http://youtu.be/pftevsnbl0w

G042 Lesson 8-Microstrip line.zip

http://youtu.be/eINq1kKuiec

G042 Lesson 9-Per unit value of line.zip

http://youtu.be/66Y-Lm3EntI

G042 Lesson 10-Line constants.zip

http://youtu.be/2XYnZZ-zXII

G042 Lesson 11-Smith chart.zip

http://youtu.be/dv-NQh4vlrg

http://youtu.be/KfM8XZd9Wqc

http://youtu.be/3NYVQvW8-Nk

http://youtu.be/5qBwLsbtfTA

http://youtu.be/ViamcvqAy_I

http://youtu.be/j_nx9n7mGec

http://youtu.be/d53B3-zV2ec

G042 Lesson 12-Four terminals network.zip

http://youtu.be/HCO4P1qrPbA

G042 Lesson 13-Exercises.zip

http://youtu.be/LeyJf1PhpCY

UEPOPS456A - Perform switching to a switching program

Session 1+2 Marine Power Generation

Session 1+2 Marine Power Generation.zip (1.89MB)
http://www.filefactory.com/file/4z7lgcinw7f1/n/Session_1+2_Marine_Power_Generation.zip

1.Electrical components +Energy & power.zip (22.35MB)
http://www.filefactory.com/file/6dh662qkib79/n/1.Electrical_components_+Energy_&_power.zip

Session 3+4 Principle +System

G033+G063+G107 Wk 6.zip (2.07MB)
http://www.filefactory.com/file/15wicxhfqfyx/n/G033+G063+G107_Wk_6.zip

G063_Wk_7+8.zip (28.15MB)
http://www.filefactory.com/file/1hnxpzq39j91/n/G063_Wk_7+8.zip

Page 40 to 111 Second half of Marine_Auxiliary_Machinery_7E.pdf (33.76MB)
http://www.filefactory.com/file/1snv4862qhw3/n/Page_40_to_111_Second_half_of_Marine_Auxiliary_Machinery_7E.pdf

3.Energy conversion, AC Principle,AC Circuits.zip (16.39MB)
http://www.filefactory.com/file/1vpf0xfcz3v5/n/3.Energy_conversion,_AC_Principle,AC_Circuits.zip

Session 5+6 Alternators

12.Synchronous generator.zip (3.95MB)
http://www.filefactory.com/file/1j4qusz28t09/n/12.Synchronous_generator.zip

14.Oscillation of synchronous machine.zip (23.96MB)
http://www.filefactory.com/file/4043507vfmsr/n/14.Oscillation_of_synchronous_machine.zip

15.Generator control.zip (32.2MB)
http://www.filefactory.com/file/4hkvow1kktpd/n/15.Generator_control.zip

13.Effect of field excitation.zip (23.68MB)
http://www.filefactory.com/file/5yv8ucyi8g9l/n/13.Effect_of_field_excitation.zip

11.Synchronous machine.zip (11.53MB)
http://www.filefactory.com/file/64oa58sd0445/n/11.Synchronous_machine.zip

Session 7+8 Transformer

13.Polarity.zip (24.47MB)
http://www.filefactory.com/file/1vdgt7lwqqat/n/13.Polarity.zip

6.Parallel operation.zip (30.5MB)
http://www.filefactory.com/file/2jvo1ny9j3bf/n/6.Parallel_operation.zip

7.Three phase transformer connection.zip (26.36MB)
http://www.filefactory.com/file/2q1wovhkg85t/n/7.Three_phase_transformer_connection.zip

1.Transformer construction.zip (20.18MB)
http://www.filefactory.com/file/3ca3ibrfz6r9/n/1.Transformer_construction.zip

4.Polarity testing.zip (38.56MB)
http://www.filefactory.com/file/6uj4096fts7n/n/4.Polarity_testing.zip

9.Harmonic in transformer+All day efficiency.zip (42.19MB)
http://www.filefactory.com/file/6wndb8u04f1x/n/9.Harmonic_in_transformer+All_day_efficiency.zip

11.Rating+Conservator system.zip (24.12MB)
http://www.filefactory.com/file/tsqyeq4qkpj/n/11.Rating+Conservator_system.zip

Session 9 Risk Management Leadership

8.Team Effectiveness.zip (25.18MB)
http://www.filefactory.com/file/1d1dw9r4490n/n/8.Team_Effectiveness.zip

13.Management leadership.zip (12.32MB)
http://www.filefactory.com/file/3eplnlv4lup3/n/13.Management_leadership.zip

1.Hazard of electricity+ Risk assessment.zip (1.92MB)
http://www.filefactory.com/file/3fb1wo2eovhh/n/1.Hazard_of_electricity+_Risk_assessment.zip

2.Risk analysis.zip (1.38MB)
http://www.filefactory.com/file/5jwtzagglid7/n/2.Risk_analysis.zip

Session 10+11+12 Control

2.Operational amplifier.zip (27.85MB)
http://www.filefactory.com/file/2seva2hdpo19/n/2.Operational_amplifier.zip

5.PLC TL31.zip (10.85MB)
http://www.filefactory.com/file/3ht0modi2aot/n/5.PLC_TL31.zip

4.Digital control.zip (43.16MB)
http://www.filefactory.com/file/6fvur80agdp5/n/4.Digital_control.zip

1.Process control transducer.zip (37.27MB)
http://www.filefactory.com/file/6th3foce1wnp/n/1.Process_control_transducer.zip

Session 13+14 Ship systems

Page 40 to 111 Second half of Marine_Auxiliary_Machinery_7E.pdf (33.76MB)
http://www.filefactory.com/file/1z90sqj9i86r/n/Page_40_to_111_Second_half_of_Marine_Auxiliary_Machinery_7E.pdf

Session 15+16 Energy Supply-Operational status

34.Stability.zip (19.39MB)
http://www.filefactory.com/file/242xcn7akfo9/n/34.Stability.zip

43.Air insulation+Short ckt current+Corona+Line surge.zip (18.56MB)
http://www.filefactory.com/file/2p456pzt9v0z/n/43.Air_insulation+Short_ckt_current+Corona+Line_surge.zip

42.Voltage & PF control+Static VAC.zip (15.83MB)
http://www.filefactory.com/file/2w5oazdbwe99/n/42.Voltage_&_PF_control+Static_VAC.zip

11.Positive,negative,zero sequence.zip (14.04MB)
http://www.filefactory.com/file/4clhtfgenef1/n/11.Positive,negative,zero_sequence.zip

3.Three ph 4 wires unbalanced.zip (7.92MB)
http://www.filefactory.com/file/6ktim3bhdcfz/n/3.Three_ph_4_wires_unbalanced.zip

38.Computerised control.zip (38.4MB)
http://www.filefactory.com/file/6pewreqg45zh/n/38.Computerised_control.zip

13.Fault calculation.zip (22.55MB)
http://www.filefactory.com/file/7c03ili0de23/n/13.Fault_calculation.zip

Session 17+18 Revise+ Assessment