Assessment Mapping - Template

(streamlined training package)

This document should be viewed concurrently with IS68+IS74  Assessment Mapping.pdf

Click HERE

| Faculty: | Construction, Engineering & Transport (CET) | College: | Ultimo |
| --- | --- | --- | --- |
| Teaching Section: | Electrical Engineering |  |  |
| Qualification Number and Name: | Certificate IV in Electrical Equipments and Systems (Naval Power System Operaton) |  |  |
| Unit of Competency Number and Name: | UEPOPS349B - Operate Local H.V. switchgear |  |  |

This unit is concurrently delivered with UETTDRIS68A+74A units and follow the competencies of UETTDRIS68A.

KNOWLEDGE REQUIREMENT---------------Click HERE

SKILLS REQUIREMENT-----------------------Click HERE

| Elements & Performance Criteria |  |  | Assessment event(s) |  |  |
| --- | --- | --- | --- | --- | --- |
| Element(s) | PC No | Performance Criteria (PC) | Assessment event 1 Written Test | Assessment event 2 Practical & Observation | Assessment event 3 Assignment |
| 1 Prepare to solve problems in energy supply network equipment | 1.1 | OHS procedures for a given work area are identified, obtained and understood | Q 1,2,3 of IS68+IS74 Assessment Mapping.pdf (Page 2) |  |  |
|  | 1.2 | OHS risk control measures and procedures in preparation for the work are followed | Q 4 to 7 of IS68+IS74 Assessment Mapping.pdf (Page 2) |  |  |
|  | 1.3 | The likely extent of work to be undertaken is envisaged from reports and/or discussions with appropriate person(s) | Q 8 of IS68+IS74 Assessment Mapping.pdf (Page 2) |  |  |
|  | 1.4 | Advice is sought from the work supervisor to ensure the work is coordinated effectively withothers. | Q 9 to 12 of IS68+IS74 Assessment Mapping.pdf (Page 3) |  |  |
|  | 1.5 | Sources of materials that may be required for the work are established in accordance with established procedures.Submit the following assignment questions |  |  | Advanced Diploma in Electrical Engineering Exercises Page 208) Q11+12 Advanced Diploma in Electrical Engineering Exercises Page 123)Q 1 to 7 |
|  | 1.6 | Tools, equipment and testing devices needed to take measurements are obtained in accordance with established procedures and checked for correct operation and safety |  | Practical EP9,EP10, | Advanced Diploma in Electrical Engineering Exercises Page 128) Q52+53 |
| 2.Solve problems in energy supply network protection equipment and system. | 2.1 | OHS risk control measures and procedures for carrying out the work are followed. | As per 1.1 to 1.3 |  |  |
|  | 2.2 | The need to test or measure live is determined in strict accordance with OHS requirements and when necessary conducted within established safety procedures |  | Practical EP11.EP12 | Advanced Diploma in Electrical Engineering Exercises Page 126) Q30 to 37 |
|  | 2.3 | Circuits/machines/plant are checked as being isolated where necessary in strict accordance OHS requirements and procedures | As per 1.3 |  |  |
|  | 2.4 | Safety hazards resulting from the reports and risk control measures devised and implemented in consultation with appropriate personnel. | As per 1.3 |  |  |
|  | 2.5 | Problem solving is approached methodically drawing on knowledge of energy supply network protection equipment and systems using measured and calculated values of circuit/apparatus parameters. | Test 1 Q 1 to 10 |  |  |
|  | 2.6 | Circuit/apparatus components are dismantled where necessary and parts stored to protect them against loss or damage |  |  | Advanced Diploma in Electrical Engineering Exercises Page 128)Q55 to 59 |
|  | 2.7 | Circuits/components are rechecked and their operational status is confirmed. |  |  | Advanced Diploma in Electrical Engineering Exercises Page 128)Q64 to 70 |
|  | 2.8 | Materials/replacement parts required to solve problems are sourced and obtained in accordance with established procedures. |  |  | Advanced Diploma in Electrical Engineering Exercises Page 126) Q23 to 29 |
|  | 2.9 | Effectiveness of the repair is tested in accordance with established procedures. | As per 1.3 |  |  |
|  | 2.10 | Apparatus is reassembled, finally tested and prepared for return to service. | As per 2.5 |  |  |
| 3.Completion and report for problem solving in energy supply network equipment | 3.1 | OHS work completion risk control measures and procedures are followed. | As per 1.3 |  |  |
|  | 3.2 | Reusable, faulty or worn components are tagged and dispatched for repair to maintain adequate spares. |  | Project | Advanced Diploma in Electrical Engineering Exercises Page 125) Q 17 to 19 |
|  | 3.3 | Maintenance work activities are documented in accordance with established procedures. |  | Project | Advanced Diploma in Electrical Engineering Exercises Page 125) Q 17 to 19 |

Add rows to the following table as required

| Performance Evidence | Assessment event 1 Written Test | Assessment event 2 Practical & Observation | Assessment event 3 Assignment |
| --- | --- | --- | --- |
| Connection of relay protection scheme & protective equipments by using one line diagram |  | EP9 |  |
| Current transformer & potential transformer connection & ratio test |  | EP10 |  |
| Over current relay characteristics |  | EP11 |  |
| Electronic relay test |  | EP12 |  |
| Study of various protective relays used in industry through trade references |  |  | Research Assignment |

Add rows to the following table as required

| Knowledge Evidence | Assessment event 1 Written Test | Assessment event 2 Practical & Observation | Assessment event 3 Assignment |
| --- | --- | --- | --- |
| T1 Protection fundamentals encompassing: | Q 1,2,3 of Test 1 |  |  |
| T2 Instrument transformers for protection |  |  | Advanced Diploma in Electrical Engineering Exercises Page 125) Q 38 to 52 |
| T3 Feeder protection | Q7 of Test 1 |  | Advanced Diploma in Electrical Engineering Exercises Page 125) Q 23 to 37 |
| T4 Transformer protection | Q10 of Test 1 |  | Advanced Diploma in Electrical Engineering Exercises Page 125) Q 10 to 15 |
| T5 Busbar protection |  |  | Advanced Diploma in Electrical Engineering Exercises Page 125) Q 16 to 19 |
| T6 Surge protection |  |  | Advanced Diploma in Electrical Engineering Exercises Page 131) Q 16 to 18 |

Add rows to the following table as required

| Assessment Conditions | Assessment event 1 Written Test | Assessment event 2 Practical & Observation | Assessment event 3 Assignment |
| --- | --- | --- | --- |
| Gather evidence to demonstrate consistent performance in conditions that are safe and replicate the welectrical workshop K2.11. Application of safe working practice & regarding the housekeeping rules are to be observed. Emergency procedures are to be informed. Safety equipments & first aids equipments are to be available. The students get the access to - Relevant practical equipments Records relating to electrical engineering resources | Test | Practical EP 9 to 12 | Research Assignment |

| Created by (Name) | U Kyaw Naing (Joe) | Date created | 16 August 2016 |
| --- | --- | --- | --- |
| Approved by (Name) | Michael Moulton | Date approved |  |
| Signature |  | Date modified |  |

| 1 | On the job | 2 | Simulated | 3 | Blended | 4 | Self-paced (facilitated) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 5 | Distance | 6 | Electronic | 7 | Face to Face | 8 | Other (Please specify) |

| Key for Methods for Collecting Evidence: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | Assignment | B | Written task | C | Role play | D | Exam |  |
| E | Oral questioning | F | Simulation | G | Observation | H | Work based |  |
| I | Portfolio | J | Self assessment | K | Case study | L | Practical demonstration |  |
| M | Project | N | Training Record Book | O | Other (Please specify) |  |  |  |

Location of Evidences (Table 1)

ASSESSMENT SCHEDULE

| Performance Criteria | Assessment 1 Practical |  | Assessment 2 Theory |
| --- | --- | --- | --- |
|  | Continuous Observation | Written Assessment as part of Practical | Written Assessment |
| 1.1 |  | X |  |
| 1.2 |  | X |  |
| 1.3 |  | X | X |
| 1.4 |  | X | X |
| 1.5 |  | X | X |
| 1.6 |  | X | X |
| 2.1 |  | X |  |
| 2.2 |  | X | X |
| 2.3 |  | X | X |
| 2.4 |  | X | X |
| 2.5 |  | X | X |
| 2.6 |  | X | X |
| 2.7 |  | X | X |
| 2.8 |  | X | X |
| 2.9 |  | X | X |
| 2.10 |  | X | X |
| 2.11 |  | X | X |
| 2.12 |  | X | X |
| 3.1 | X | X |  |
| 3.2 | X |  |  |
| 3.3 | X |  |  |
| EKAS Assessment |  | X | X |

POWER SYSTEM Youtube video Lessons to provide the sufficient EKAS