## Slide 1
Lesson 3
Chapter 21
Transformers
Section
21.5 Voltage regulation

## Slide 2: 21.5 Voltage regulation
Voltage regulation refers to the change in secondary voltage due to a change in load current.
It is calculated by comparing the change in secondary voltage with its no-load voltage.
For a given transformer at a given power factor:

## Slide 3: Tap changers
A tap changer is a form of selector switch connected to tappings of either the primary or secondary windings of a transformer
Notes: Figure 21.21

## Slide 4: Off-load tap changer
An off-load tap changer that bridges tappings between two halves of the primary winding
Notes: Figure 21.22

## Slide 5: On-load tap changer
A 33 kV, 150 A on-load tap changer that is installed outside the transformer tank
Notes: Figure 21.23

## Slide 6: Diverter operation
Diverter contacts maintain a connection to the load during switching by passing the load current through a wire-wound transition resistor
Notes: Figure 21.24

## Slide 7: Typical connections
Typical connections between an out-of-tank tap changer and a transformer
Notes: Figure 21.25