P47Q1 to Q3

P47Q4+Q5

P47Q6

1.4.60 Equipotential bonding

P47Q7

1.4.92 Point (in wiring)

A termination of installation wiring, intended for the connection of

electricity consuming equipment.

P47Q8+9

P48Q10

5.2 EARTHING FUNCTIONS

5.2.1 Protective earthing

When a fault occurs between a live part and an exposed conductive part or

parts of the protective earthing system, a prospective touch voltage may

arise between simultaneously accessible conductive parts. Fault protection

by means of automatic disconnection of supply is intended to limit this

voltage.

Automatic disconnection is achieved by—

(a) the provision of a protective earthing system in which exposed

conductive parts are connected via conductors or similar medium to

the earthed neutral of the distribution system; and

(b) in the event of a fault current or excessive earth leakage current

flowing in the protective earthing system, overcurrent or earth leakage

current protective devices operate to disconnect the affected part of

the installation within the specified maximum duration of the

prospective touch voltage.