P133Q1

Fluorescent lamps work by ionizing mercury vapor in a glass tube. This causes electrons in the gas to emit photons at UV frequencies. The UV light is converted into standard visible light using a phosphor coating on the inside of the tube.

P133Q2

An electric current in the gas excites mercury vapor, which produces short-wave ultraviolet light that then causes a phosphor coating on the inside of the lamp to glow. A fluorescent lamp converts electrical energy into useful light much more efficiently than incandescent lamps

P133Q3

Lifespan. The average rated life of a fluorescent light bulb is 8 to 15 times longer that of incandescents. Fluorescent light bulbs typically have a rated lifespan of 7,000 to 15,000 hours, whereas incandescent lamps are usually manufactured to have a lifespan of 750 hours or 1,000 hours.

P133Q4

Two general types of fluorescent lamps include these:

- Fluorescent tube and circline lamps.

- Compact fluorescent lamps (CFLs)

P133Q5

- How long do T5 lamps last before they burn out? | What are T5 Lamps ...

www.lrc.rpi.edu/programs/nlpip/lightingAnswers/lat5/pc8.asp

- Cached

- Similar

The 20,000-hour lamp life of T5 lamps is the same as the lamp life of most T8 lamps, although newly developed prolonged-life T8 lamps have lives of 4,000 or 10,000 hours longer than T5 lamps

P133Q6

The stroboscopic effect is a visual phenomenon caused by aliasing that occurs when continuous motion is represented by a series of short or instantaneous samples.

P133Q7

A ballast is a device that is used with fluorescent and other discharge lamps to provide the required current and voltage. The primary function is to provide the lamp with high voltage and/or cathode heating during start-up, and then to stabilise the arc by limiting the electrical current to the lamp.

P133Q8

Fluorescent lamps work by ionizing mercury vapor in a glass tube. This causes electrons in the gas to emit photons at UV frequencies. The UV light is converted into standard visible light using a phosphor coating on the inside of the tube.

P133Q9

Matching the sensitivity of the film to the color temperature of the light source is one way to balance color. If tungsten film is used indoors with incandescent lamps, the yellowish-orange light of the tungsten incandescent lamps will appear as white (3200 K) in the photograph.

P133Q10

A fluorescent lamp tube is filled with a gas containing low-pressure mercury vapor and argon, xenon, neon, or krypton.