1. To obtain maximum battery EMF cells connected in:

a) parallel +ve to -ve

b) parallel +ve to +ve

c) series +ve to -ve

d) series +ve to +ve

2. To obtain maximum available battery current output capacity, cells should

be connected in :

a) parallel +ve to -ve

b) parallel +ve to +ve

c) series +ve to -ve

d) series +ve to +ve

3. In a series grouping of cells battery current is limited by:

a) load resistance

b) internal battery resistance and load resistance

c) the number of cells in series

d) the open circuit voltage of each cell

4. The variation of terminal voltage with load on the cell is caused by:

a) local action within the cell

b) shorting between cell plates

c) the extra negative plate

d) the internal resistance of the cell

5. Four 1.5 V cells are connected in series, but one cell is reversed, the net

output voltage is:

a) 1.5 V

b) 3 V

c) 4.5 V

d) 6 V

6. A battery consists of:

a) two dissimilar electrodes in an electrolyte

b) a number of cells connected in series or parallel

c) only series connected cells

d) only parallel connected cells

7. Four 1.4 cells are connected in parallel, but one cell is reversed the net

output voltage is:

a) 0 V

b) 1.5 V

c) 3 V

d) 4.5 V

8. Twenty, 2 V cells are connected in five parallel branches. The net output

voltage would be:

a) 10 V

b) 20 V

c) 8 V

d) 40 V

9. A group of four cells connected in series configuration, supply a fixed load. If

one additional cell is connected in series the circuit:

a) voltage and current will increase

b) voltage increases and current remains the same

c) voltage decreases and current increases

d) voltage remain the same and current increases

10.A 2 V secondary cell with an internal resistance of 0.05 ohms is connected

to a load of 0.2 ohms, the resulting current would be:

a) 10 amps

b) 8 amps

c) 40 amps

d) 50 amps

11.Calculate the continuous current that a battery with 300 ampere-hour rating

can deliver on a 10 hour discharge?

30A

12.Calculate the continuous current that the same battery in question 11, can

deliver if it is discharged in five hours if the ampere-hour output is reduced to

80% of the 10 hour rating.

48A

13.Determine the terminal voltage and circuit current of a battery consisting of 10

cells connected in series, if each cell has an open circuit emf of 2V and an

internal resistance of 0.2 ohms, when a load with the resistance of eight ohms

is connected

20V      20/ 8.2  =

14.A 12 volt battery consisting of 6 cells requires 14.7 volts to charge at 20

amps. Find the internal resistance of each cell after charging has been

completed.

14.7 – 12 / 20 = 0.135 ohm

15.Eight 1.5 volt cells are arranged in two parallel groups, if the cells are

connected to a 12 ohm load. Find the circuit current if the internal resistance

of each cell is 0.3 ohms

E= 4x1.5 = 6 V

r = 4 x 0.3 / 2 = 0.6 ohm

Rt = 0.6 +12 = 12.6 ohm

I = 6/12.6  A