## Slide 1
L
UEENEEG101A Solve problems in electromagnetic devices and related circuits
Electromagnetic Induction
Notes: Title

## Slide 2
Objectives
At the end of this section students should be able to:
1. Describe the principles of electromagnetic induction
2. Describe and apply Flemings Right Hand Rule for Generators.
3. State and describe Lenz’s Law
4. Calculate the EMF induced in a conductor for a number of conditions.
5. List applications of electromagnetic induction
L

## Slide 3
Electromagnetic Induction
RN Video Part 9
L

## Slide 4
L

## Slide 5
L

## Slide 6
L

## Slide 7
N
S
L

## Slide 8
N
S
L

## Slide 9
N
S
S
N
(a)
N
S
(b)
N
S
(c)
S
N
(d)
S
N
(e)
N
S
(f)
S
N
(g)
(h)
Exercise 1
Complete the diagrams:
L

## Slide 10
A
B
B
A
A
B
N
S
A
B
B
A
L

## Slide 11
B
A
A
B
B
A
N
S
B
A
A
B
L

## Slide 12
e = Blv
The generated voltage depends on:
The strength of the magnetic field,
Flux Density (B) {Tesla}
The length of the conductor in the magnetic field, and
Length (l) {meters}
The velocity of the conductor in the magnetic field,
Velocity (v) {ms-1}
L

## Slide 13
Ex. 2
l = 0.25 m
v = 20 ms-1
B = 1.5 T
e = Blv
e = 1.5 x 0.25 x 20
e = 7.5 V
Find the EMF generated by a 250 mm length of copper wire passing through a magnetic field with a flux density of 1.5 Tesla at a velocity of 20 meters per second.
What do we know?
What do we want to know?
L

## Slide 14
Ex. 3
l = 0.2 m
v = ?? ms-1
B = 0.25 T
e = 1.5 V
v = e/Bl
v = 30 ms-1
v = 1.5/(0.25 x 0.2)
Find the velocity of a 200 mm length of copper wire passing through a magnetic field with a flux density of 250 milli Tesla which produces an EMF of 1.5 Volts.
What do we know?
What do we want to know?
e = Blv
L

## Slide 15
Faraday's Law States
‘… The value of the emf Induced in a circuit depends on the number of conductors in the circuit and the rate of change of the magnetic flux linking the conductors. …’
L

## Slide 16
Ex. 5
N = 15 turns
ΔΦ = (0.3 - 0.1) Wb
e = 15 x 2
e = 30 V
ΔΦ = 0.2 Wb
Δt = 0.1 s
ΔΦ/Δt = 2 Wbs-1
Find the EMF generated in a coil of 15 turns if the magnetic field surrounding it drops from 0.3 to 0.1 Webers in 1/10 of a second.
What do we know?
What do we want to know?
L

## Slide 17
Ex. 6
e = 60 V
ΔΦ = (0.4 - 0) Wb
N = e Δt/ΔΦ = 60/80
N = ¾ turns
ΔΦ = 0.4 Wb
Δt = 0.005 s
ΔΦ/Δt = 80 Wbs-1
Find the number of turns required in a coil which can produce an EMF of 60 Volts when a magnetic field of 400 milli Tesla drops to Zero in 5 milli Seconds.
What do we know?
What do we want to know?
L

## Slide 18
Ex. 7
Calculate the EMF induced in each coil of a transformer that has 600 turns on the primary and 50 turns on the secondary if a flux of 0.25 Wb is reduced to zero in 5 milli Seconds.
What do we know?
50 turns
600 turns
ΔΦ = (0.25 - 0) Wb
ΔΦ = 0.25 Wb
Δt = 0.005 s
ΔΦ/Δt = 50 Wbs-1
What do we want to know?
NP = 600 turns
e = 600 x 50
e = 30 kV
NS = 50 turns
e = 50 x 50
e = 2.5 kV
L

## Slide 19
Lenz's Law States
‘… The direction of the Induced emf is always such that the resulting current flow will produce a magnetic field which tends to oppose the original motion causing the induced emf. …’

## Slide 20
N
S
S
N
L

## Slide 21
N
S
N
S
L

## Slide 22
Right Hand Rule (Generators)
Left Hand Rule (Motors)
Motion
Current
Flux
L

## Slide 23
Practical Exercise 5
Electromagnetic Induction & Inductance
L