## Slide 1
L
UEENEEG101A Solve problems in electromagnetic devices and related circuits
DC Motor Starting and Specialist Machines
Notes: Title

## Slide 2
Revision
DC Motor Characteristics and Reversal

## Slide 3
IF
A1
A2
VT
RA
RF
Eg
IL
IA
A1
A2
VT
RF
Eg
IL
RA
IA
A1
A2
VT
RS
Eg
IL
RA
IF
RF
IA
Shunt
Series
Compound
DC Motors are classified according to their Field Winding Connections
(the same as generators and we can use the same models)
Separate
A1
A2
VT
RA
RF
Eg
IA

## Slide 4
A1
A2
VT
RS
Eg
IL
RA
IF
RF
IA
A1
A2
VT
RS
Eg
IL
RA
IF
RF
IA
Long Shunt
Short Shunt

## Slide 5
Shunt Motor Characteristics
Armature Current - Amps
Full Load Current
Torque (Nm)
Speed (rpm)
Efficiency (%)

## Slide 6
Series Motor Characteristics
Armature Current - Amps
Full Load Current
Torque (Nm)
Speed (rpm)
Efficiency (%)

## Slide 7
Compound Motor Characteristics
Load Current - Amps
Output – Speed or Torque
Rated Value
Full Load Current
Level Compounded
Over Compounded
Under Compounded

## Slide 8
Before
+
-
+
-
Reversals
+
-
N
S
N
S
N
S
N
S

## Slide 9
Change Field Coil Current
+
-
+
-
Reversals
+
-
S
N
S
N
S
N
S
N

## Slide 10
-
+
-
+
Reversals
+
-
N
S
N
S
N
S
N
S
Change Armature Coil Current

## Slide 11
Losses & Efficiency
BUT machines have LOSSES
Power In
Power Out
Power losses in a DC Motor
Copper (Cu) Losses
Iron (Fe) Losses
Friction & Windage Losses
Fixed Losses
Variable Losses
Maximum efficiency occurs when the Fixed Losses = the Variable Losses

## Slide 12
Objectives
At the end of this section students should be able to:
1. Explain the need for current limiting in DC Motor Starters.
2. Calculate the value of starting resistance for a given DC Motor.
3. Describe the construction of Tachogenerators, Servo Motors and Stepper Motors.
4. Explain the operating principles of Tachogenerators, Servo Motors and Stepper Motors.
5. List applications of Tachogenerators, Servo Motors and Stepper Motors.

## Slide 13
At start up a Motor’s Armature Current MUST be limited to protect the machine.
Armature Current is usually limited to 150 – 200% of Full Load.
At start up a Motor’s Armature Current is a maximum because the Back EMF is Zero.

## Slide 14
Calculate the resistance necessary to limit the starting current of a 600 Volt Compound Motor to 150% of its full load current if it has a Shunt Field resistance of 1200 Ω, an armature resistance of 1 Ω, and a rated full load current of 23 Amps.
IF = 0.5 A
IS = 34.5 A
IS = 150% x IA
IS = 1.5 x 23 A
A1
A2
600V
1Ω
Eg
23A
IF
1200Ω
IA
RS
RS = 16.65 Ω
IA = 34 A
IA = IS - IF
IA = 34.5 – 0.5 A
RS = RAT – RA
RS = 17.65 - 1

## Slide 15
Calculate the resistance necessary to limit the starting current of a 240 Volt Shunt Motor to 150% of its full load current if it has a Shunt Field resistance of 480 Ω, an armature resistance of 0.5 Ω, and a rated full load current of 45 Amps.
IF = 0.5 A
IS = 67.5 A
IS = 150% x IA
IS = 1.5 x 45 A
A1
A2
240V
0.5Ω
Eg
45A
IF
480Ω
IA
RS
RS = 3 Ω
IA = 67 A
IA = IS - IF
IA = 67.5 – 0.5 A
RS = RAT – RA
RS = 3.58 – 0.5

## Slide 16
Calculate the resistance necessary to limit the starting current of a 250 Volt Series Motor to 150% of its full load current if it has a Series Field resistance of 0.1 Ω, an armature resistance of 0.067 Ω, and a rated full load current of 100 Amps.
IS = 150 A
IS = 150% x IA
IS = 1.5 x 100 A
A1
A2
250V
0.167Ω
Eg
100A
IA
RS
RS = 1.5 Ω
IA = IS
RS = RAT – RA
RS = 1.67 – 0.16

## Slide 17
Specialist DC Machines
Tachogenerator
Eg α Speed

## Slide 18
Tachogenerator
Eg = kΦn
Armature Speed - rpm
Output – Terminal Voltage
Construction
Generally small machines
Permanent Magnets
Applications
Direct speed measurement
Speed Sensor in a control system

## Slide 19
Specialist DC Machines
Tachogenerator
Eg α Speed
Stepper Motor
Converts Electrical Pulses into Mechanical Movement

## Slide 20
N
S
N
S
A
A
B
B
Step 1

## Slide 21
N
S
A
A
B
B
Step 2
N
S
N
S

## Slide 22
S
N
A
A
B
B
Step 3
N
S
N
S

## Slide 23
S
N
A
A
B
B
Step 4
S
N
N
S

## Slide 24
N
S
A
A
B
B
Step 5
S
N
N
S

## Slide 25
N
S
A
A
B
B
Step 6
N
S
N
S

## Slide 26
Specialist DC Machines
Tachogenerator
Eg α Speed
Stepper Motor
Converts Electrical Pulses into Mechanical Movement
Servo Motor
Converts Electrical Signals into Mechanical Movement

## Slide 27
Control Unit
Unit driven by
Servo Motor

## Slide 28
Practical Exercise #5
DC Motor Starting
Pg. 51 - 54

## Slide 29
End of Module
Next Session
Final Test