## Slide 1
L
UEENEEG101A Solve problems in electromagnetic devices and related circuits
DC Motor Characteristics and Reversal
Notes: Title

## Slide 2
S
N
N
S
N
S
(a)
S
N
(b)
S
N
(c)
N
S
(d)
(e)
(f)
Pg. 238 Q. 1
Motion
Current
Flux
L

## Slide 3
Objectives
At the end of this section students should be able to:
1. List three main types of DC Motor.
2. Draw circuit arrangements and connect various DC Motors.
3. State typical applications for types of DC Motors.
4. Describe the operating characteristics of various types of DC Motor.
6. Calculate the values of voltage, Current and Torque associated with DC Motors.
5. Reverse the direction of rotation of of a DC Motor.
L

## Slide 4
IF
A1
A2
VT
RA
RF
Eg
IL
IA
A1
A2
VT
RF
Eg
IL
RA
IA
A1
A2
VT
RS
Eg
IL
RA
IF
RF
IA
Shunt
Series
Compound
DC Motors are classified according to their Field Winding Connections
(the same as generators and we can use the same models)
Separate
A1
A2
VT
RA
RF
Eg
IA
L

## Slide 5
A1
A2
VT
RS
Eg
IL
RA
IF
RF
IA
A1
A2
VT
RS
Eg
IL
RA
IF
RF
IA
Long Shunt
Short Shunt
L

## Slide 6
Fleming’s Right Hand Rule (Generators)
In generators we use a force on a conductor in a magnetic field to produce a current.
L

## Slide 7
In motors we use a current in a conductor in a magnetic field to produce a force.
Fleming’s Left Hand Rule (Motors)
Motion
Current
Flux
L

## Slide 8
The DC Motor Converts
Electrical Energy to Mechanical Energy
The action of the DC Motors
and Generators depends on
Mutual or Electromagnetic Induction
The DC Generator Converts
Mechanical Energy to Electrical Energy
L

## Slide 9
Shunt Motor
In a Shunt Motor the Applied Voltage (VT) is relatively constant,  IF and Φ are relatively constant.
and
the Torque will change
If the load changes:
the motor speed (n) will change,
Eg = kEΦn
T = kTΦIA
the Armature Current (IA) will change,
the Back EMF (Eg) will change,
causing the speed to change back to its original value.
Shunt motors are considered to be constant speed.
L

## Slide 10
Shunt Motor Characteristics
Armature Current - Amps
Full Load Current
Speed (rpm)
L

## Slide 11
Speed Regulation
Eg. A DC Shunt Motor has an open circuit speed of 2500 rpm which reduces to 2450 rpm when the motor is providing the rated current. Calculate the Speed Regulation.
Reg % = 2.0 %
L

## Slide 12
Shunt Motor Characteristics
Armature Current - Amps
Full Load Current
Torque (Nm)
Speed (rpm)
Efficiency (%)
L

## Slide 13
IF = V/R = 250/200 = 1.25 A
Eg = 250 - (18.75 x 0.2) V
Eg = VT - IARA
Eg = 246.25 V
IA = IL - IF = 20 - 1.25
IA = 18.75 A
20 A
200 Ω
IF
A1
A2
250 V
0.2 Ω
Eg
IA
Eg = 250 - (23.75 x 0.2) V
Eg = VT - IARA
Eg = 245.25 V
IA = IL - IF = 25 - 1.25
IL = 25 A
A 250 Volt Shunt Motor draws a line current of 20 Amps. Calculate the Back EMF if the shunt field resistance is 200 Ω and the armature circuit resistance is 0.2 Ω.
Calculate the new Back EMF if the load current changes to 25 A.
IA = 23.75 A
L

## Slide 14
Series Motor
In a Series Motor the Applied Voltage (VT) is relatively constant, BUT IA and Φ are variable and related.
and therefore the Torque will change.
If there is no load the motor speed (n) will be very high because there is no IA and little Φ (Residual Mag ONLY).
Eg = kEΦn
T = kTΦIA
the Armature Current (IA) will change,
As the load changes:
the speed (n) changes,
the Back EMF (Eg) will change,
Series motors are considered to be variable speed.
L

## Slide 15
Shunt Motor Characteristics
Armature Current - Amps
Full Load Current
Torque (Nm)
Speed (rpm)
Efficiency (%)
L

## Slide 16
Eg = 400 - (125 x 0.4) V
Eg = VT - IARA
Eg = 350 V
IL = 125 A
IA = 100 A
A1
A2
400 V
0.2 Ω
IL
0.2 Ω
IA
Calculate the line current drawn by a 400 Volt Series Motor with an armature circuit resistance is 0.4 Ω and a Back EMF 360 Volts.
Calculate the new Back EMF if the line current changes to 125 A.
360 V
L

## Slide 17
Compound Motor
A Cumulative Compound Motor
Series and Shunt Fields assist each other.
Light Series Winding
Characteristics of a Shunt Motor
But better Torque
Heavy Series Winding
Characteristics of a Series Motor
But better Speed Regulation on light loads
L

## Slide 18
Compound Motor Characteristics
Load Current - Amps
Output – Speed or Torque
Rated Value
Full Load Current
Level Compounded
Over Compounded
Under Compounded
L

## Slide 19
Compound Motor
Cumulative Compound Motor applications include:
Constant Speed but varying loads:
Presses
Planers
Compressors
Lifts
Possible / Intermittent Overload Situations
L

## Slide 20
Compound Motor
A Differential Compound Motor
Series and Shunt Fields oppose each other.
Motor speed tends to increase with increases in load.
Very few applications
Used where Motor Speed is critical
BUT have almost been superseded by shunt motors
Motor speed fluctuates under changing load.
L

## Slide 21
Eg = 240 - (30 x 0.8) V
Eg = VT - IARA
Eg = 216 V
IL = 32 A
IA = 25 A
IF = 2 A
IL = IA + IF = 27 A
IA = IL - IF = 30 A
IF = 2 A
A1
A2
240V
0.3Ω
220V
IL
0.5Ω
IF
120Ω
IA
Calculate the line current drawn by a 240 Volt Compound Motor with a Shunt Field resistance of 120 Ω, a Series Field resistance of 0.3 Ω and an armature resistance of 0.5 Ω if its Back EMF 220 Volts.
Calculate the new Back EMF if the line current changes to 32 A.
L

## Slide 22
Losses & Efficiency
A machine is 100% efficient if the Power Out is the same as the Power In
Power In
Power Out

## Slide 23
Losses & Efficiency
BUT machines have LOSSES
Power In
Power Out
Power losses in a DC Motor
Copper (Cu) Losses
Iron (Fe) Losses
Friction & Windage Losses
Fixed Losses
Due to the construction and physical characteristics of the machine.
Variable Losses
Due to the operation of the machine, aka losses.

## Slide 24
Losses & Efficiency
BUT machines have LOSSES
Power In
Power Out
Power losses in a DC Motor
Copper (Cu) Losses
Iron (Fe) Losses
Friction & Windage Losses
Fixed Losses
Variable Losses
Maximum efficiency occurs when the Fixed Losses = the Variable Losses

## Slide 25
Rotation Reversal
… To reverse the direction of rotation
of a DC Motor the relationship
between the magnetic fields in
the field winding AND the armature
MUST be reversed …
L

## Slide 26
Rotation Reversal
… To reverse the direction of rotation
of a DC Motor the direction of
current flow in EITHER
the field winding OR the armature
MUST be reversed …
L

## Slide 27
Series Motors
+
-
Change the Field
A
+
-
Change the Armature
A
L

## Slide 28
+
-
A
Shunt Motors
Change the Field
Change the Armature
+
-
A
L

## Slide 29
Compound Motors
Change the Field
Change the Armature
+
-
A
+
-
A
L

## Slide 30
L
Practical Exercise #4 Pg. 39 – 46
DC Motor Characteristics and Reversal
Notes: Title